## Sheet1
Lynx Smart BMS |  |  | Default | Min | Max | Ours
Battery Voltage
| Battery Capacity |  | 200Ah
Number of Batteries in Parallel
Pre-Alarm Mode Setting
Relay Setting
DVCC Settings
|  | Discharge Current Limit at Pre-Alarm | No
|  | Absorption Time | 2Hrs
|  | Repeated Absorption Interval | 30 Days
|  | SoC Threshold | 70%
Battery Monitor Settings
|  | Charged Voltage | 56V
|  | Tail Current | 0.04
|  | Charged Detection Time | 3 Min
|  | Discharge Floor | 0.1
|  | Low SoC Warning Level | 0.15
State of Charge
Synchronize SoC to 100%

## Sheet2
25 | 2.16 | 25 ¦¦ 50 | 16.6667
50 | 1.08 | 25 ¦¦ 75 | 18.75
75 | 0.72 | 25 ¦¦ 100 | 20
100 | 0.54
|  | 50 ¦¦75 | 30
|  | 50 ¦¦ 100 | 33.3333
54 | Volt
|  | 75 ¦¦ 100 | 42.8571
ohms | Current
16.67 | 3.2394
18.75 | 2.88
20 | 2.7
25 | 2.16
30 | 1.8
33 | 1.6364
42.86 | 1.2599
50 | 1.08
75 | 0.72
100 | 0.54