## Sheet1
1.06
Item | Description | Manufacturer | Manufacturer PN# | Cost (Euros) | Quan | Unit Cost (US) | Cost (US)
Batt1 | 25.6V 200Ah Battery | Victron Energy | BAT524120610 | 4400 | 1 | 4664 | 4664
Batt2 | 25.6V 200Ah Battery | Victron Energy | BAT524120610 | 4400 | 1 | 4664 | 4664
Mod1 | Lynx Smart BMS | Victron Energy | LYN034160200 | 1070 | 1 | 1134.2 | 1134.2
Mod2 | Lynx Power In | Victron Energy | LYN020102000 | 175 | 1 | 185.5 | 185.5
Mod3 | Smart Shunt | Victron Energy | SHU065150050 | 146 | 1 | 154.76 | 154.76
Mod4 | Smart Shunt | Victron Energy | SHU065150050 | 146 | 1 | 154.76 | 154.76
Mod5 | Smart Battery Protect | Victron Energy | BPR110048000 | 171 | 1 | 181.26 | 181.26
Mod6 | Smart Battery Protect | Victron Energy | BPR110048000 | 171 | 1 | 181.26 | 181.26
Mod7 | Fuse Block, 6 Position | Blue Seas System | 5025 |  | 1 | 60 | 60
Mod8 | Smart Battery Protect | Victron Energy | BPR110048000 | 171 | 1 | 181.26 | 181.26
Mod9 | 12V:48V DC-DC Converter | Sterling | BB124870 |  | 1 | 450 | 450
Mod10 | MultiPlus 2000VA/120V | Victron Energy | PMP482200100 | 1246 | 1 | 1320.76 | 1320.76
Mod11 | Positive Busbar, 4 Position | Victron Energy | VBB115040020 | 22 | 1 | 23.32 | 23.32
Mod12 | Negative Busbar, 4 Position | Victron Energy | VBB115040020 | 22 | 1 | 23.32 | 23.32
Mod13 | Cerbo GX | Victron Energy | BPP900450100 | 382 | 1 | 404.92 | 404.92
Mod14 | GX Touch 70 | Victron Energy | BPP900455070 | 382 | 1 | 404.92 | 404.92
K1 | Battery Cutoff Safety Relay | Sensata/Gigavac | GX14BA |  | 1 | 172 | 172
K2 | Aux Power Relay | Sensata/Gigavac | GX14BA |  | 1 | 172 | 172
K3 | DC Motor Relay | Sensata/Gigavac | GX14BA |  | 1 | 172 | 172
K4 | Alternator Charger Input Relay | Sensata/Gigavac | GX14BA |  | 1 | 172 | 172
K5 | Alternator Charger Output Relay | Littelfuse | DCNSEV30-B |  | 1 | 55 | 55
K6 | Shore Charger Relay | Littelfuse | DCNSEV30-B |  | 1 | 55 | 55
F1 | Battery Fuse | Victron Energy | CIP137250010 | 17 | 20 | 18.02 | 360.4
FH1 | Single Mega Fuse Holder | Victron Energy | CIP000100001 | 13 | 1 | 13.78 | 13.78
F2 | Aux Power Fuse | Victron Energy | CIP133030010 | 14 | 20 | 14.84 | 296.8
FH2 | Single Midi Fuse Holder | Victron Energy | CIP000050001 | 10 | 1 | 10.6 | 10.6
F3 | DC Motor Fuse | Victron Energy | CIP137200010 | 17 | 20 | 18.02 | 360.4
FH3 | Single Mega Fuse Holder | Victron Energy | CIP000100001 | 13 | 1 | 13.78 | 13.78
F4 | Internal DC Routing Fuse | Victron Energy | CIP137125010 | 17 | 20 | 18.02 | 360.4
FH4 | Single Mega Fuse Holder | Victron Energy | CIP000100001 | 13 | 1 | 13.78 | 13.78
F5 | At-Sea Charging Output Fuse | Littelfuse | 0999020.ZXN |  | 20 | 3.38 | 67.6
FH5 | Single Inline Maxi Blade Fuseholder | Optiline | LPX-12C-8R |  | 1 | 22.79 | 22.79
F6 | Shore Charging Fuse | Victron Energy | CIP133030010 | 14 | 20 | 14.84 | 296.8
FH6 | Single Midi Fuse Holder | Victron Energy | CIP000050001 | 10 | 20 | 10.6 | 212
F7 | At-Sea Charging Input Fuse | Victron Energy | CIP133100010 | 14 | 20 | 14.84 | 296.8
FH7 | Single Midi Fuse Holder | Victron Energy | CIP000050001 | 10 | 1 | 10.6 | 10.6
F8 | Cerbo GX Fuse | Optifuse | ANR58-UL-2A |  | 20 | 2.68 | 53.6
F9 | Internal Bus Fuse [open] | N/A | N/A | N/A |  |  | 0
F10 | Smartshunt HPU Fuse | Optifuse | ANR58-UL-1A |  | 20 | 2.99 | 59.8
F11 | Internal Bus Fuse [open] | N/A | N/A | N/A |  |  | 0
F12 | Smartshunt Aux Fuse | Optifuse | ANR58-UL-1A |  | 20 | 2.99 | 59.8
F13 | Internal Bus Fuse [open] | N/A | N/A | N/A |  |  | 0
CA01 | BMS Extension Cable | Victron Energy | ASS030560500 | 50 | 1 | 53 | 53
CA02 | BMS Extension Cable | Victron Energy | ASS030560500 | 50 | 1 | 53 | 53
0
0
0
17601.97
Item | Desc | Manuf | Manuf PN# | Unit Cost | Quan | Cost
| Lug, 00AWG to M8 | Panduit | LCAN2/0-56-X | 10.05 | 30 | 301.5
| Lug, 00AWG to M10 | Panduit | LCAN2/0-38-X | 10.05 | 15 | 150.75
| Lug, 1AWG to M8 | Panduit | LCA1-56-E | 6.54 | 10 | 65.4
| Lug, 1AWG to 10-32 | Panduit | LCAN1-10-E | 9.41 | 10 | 94.1
| Lug, 2AWG to M5 | Panduit | LCAN2-10-Q | 7.61 | 10 | 76.1
| Lug, 2AWG to M10 | Panduit | LCA2-38-Q | 6.03 | 10 | 60.3
| Lug, 6AWG to 1/4-20 | Panduit | LCA6-14-L | 2.43 | 15 | 36.45
| Lug, 6AWG to M5 | Panduit | LCA6-10-L | 2.43 | 10 | 24.3
| Lug, 6AWG to M8 | Panduit | LCA6-56-L | 2.43 | 20 | 48.6
| Lug, 6AWG to M10 | Panduit | LCA6-38-L | 2.43 | 10 | 24.3
| Wire, 00AWG Red | McMaster-Carr | 6948K96 | 9.45 | 99 | 935.55
| Wire, 00AWG Black | McMaster-Carr | 6948K96 | 9.45 | 99 | 935.55
| Wire, 1AWG Red | McMaster-Carr | 6948K94 | 6.28 | 99 | 621.72
| Wire, 1AWG Black | McMaster-Carr | 6948K94 | 6.28 | 99 | 621.72
| Wire, 2AWG Red | McMaster-Carr | 6948K93 | 5.09 | 99 | 503.91
| Wire, 2AWG Black | McMaster-Carr | 6948K93 | 5.09 | 99 | 503.91
| Wire, 6AWG Red | McMaster-Carr | 6948K91 | 2.36 | 99 | 233.64
| Wire, 6AWG Black | McMaster-Carr | 6948K91 | 2.36 | 99 | 233.64
| Cable, 15-Conductor, 20AWG, 50ft | Prysmian Group | C0786A.41.10 | 138 | 2 | 276
[6 empty] | 5747.44 |  | 23349.41