## Sheet1
UBAT Validation Light Source Calibration
(to do calibration, open Blinc software, open terminal window, type n to turn on lamp, read
value of fourth column, type m to turn off lamp)
(value may exceed 10% out of spec because of lack of PMT burn in)
Value on Characterization Sheet (in-air) | 292000000000 | % out of spec
calibration on 03/29/2011 | 257000000000 | 11.9863