Commands for “W” MDD2 Special Code 5-02

Upon Power up:

 wait ~10 Sec for data printout (pump starts also)

“K” stops printout (and pump IF printing out)

“I” set time and date

“T” print out time and date (year day format and normal format)

“Z” zero depth

“J” start printout (DOES NOT start pump)

“E” starts pump

“?” prints out incorrect instructions

Weight in air 11.7 lbs, in fresh water 2.6 lbs

Requires regulated 12v

