MOOS Mooring 9/7/05 Meeting Agenda
1) MTM3 deployment schedule update.

a. Bridle installation Friday Sept. 16.

b. Predeployment readiness review Monday Sept. 19.

c. Crew list for deployment.

2) Action items:

a. Close controller and power housings. Done
b. Move instruments and housings to buoy and wire.

c. SIAM outstanding action items?

i. Watchdog test.

ii. PUCK configuration test.

d. Other outstanding hardware and software items?

3) Checklist run-through (enclosed).

4) MTM3 instrument list status:
	Instrument
	Sample rate
	Notes

	Globalstar (Lance)
	1 hour
	

	MMC Can (Lance) 
	
	.

	Power Can (Ed) 
	10 min.
	GF status?

	Upper load cell (Mark)
	10 min./4Hz
	

	Lower Load cell (Mark)
	10 min./4Hz
	

	P2 - Optical ADC (Lance)
	10 min.
	No standard deviation data.

	ADC03 - reference
	10 min./4Hz
	Some negative spikes in data, was mooring rebooted multiple times yesterday around noon?

	ADC02 – optical loop 1
	10 min./4Hz
	Reading negative.

	ADC04 – optical loop 2
	10 min./4Hz
	Looks OK.

	Compass   (Lance)
	10 min.
	

	Freewave (Lance)
	7 min.
	

	Wind/Heading (Lance) 
	10 min.
	

	Wave Sensor (Heave only) (Andy)
	30 min.
	.

	Garmin GPS  (Kent)
	10 min.
	


