MSE Webpage Meeting Notes

2006_07_14 Mark C.

1) Put link to SSDS MSE page on MSE and MOOS websites (update those sites!).

2) Have first page loaded be “MSE sites” rather then “MSE Domains”.

3) What about broken/missing sensors?

a. Short term – manually flag as “removed for repair” with expected return date.

b. Long term – Common “class reporting” system.

4) Mike McCann can/should take on Aquadopp data post-processing after Brian extracts binary data?

5) SSDS site graphical displays do not always size correctly on WE browser. Make site look thrown together and sloppy.

6) Add “Planned availability xxxx” to missing data and displays on website so appears more individually organized to users then just a generic “data not available”.

7) Multi-spectral page miss-labeled, also instruments mistakenly appear on Benthic nodes.

8) Will SOON post process data be displayed? Scientists should be encouraged to make post-processed data available. Raw data only cannot be interpreted or ground-truthed by anyone but instrument builder (MSE policy is data is public).

9) Some GPS watch circle plots need fixing. Scale both axis equally. Update anchor as-deployed position (MSE anchor is 36.218321° N -122.904986° W).

10) Add better descriptors from metadata to graph displays – especially power page.

11) Fix Medusa data parsing.

12) Add some portal data items, specifically Globalstar download durations, to data pages.

