MSE 3/2/06 Science Meeting Notes corrected

Present: Charlie P., Bill U., Andy H., Johnny F., Mark C.

Revised 3/10/06. Ussler to be representative on RDI ADCP, SeaBird+transmissometer, OBS.

1. Final Critical Design Review on BIN instrument placement.

a. Review of instrument placement only, separate review will be held with Tiburon pilots on ROV manipulations, weight-and-balance and operational sequencing. The Solidworks model presented by Johnny was reviewed. NOTE: After the review Johnny consulted further with Jim Barry on Aquadopp placement. Jim requested a modification to full vertical mounting further from BIN housing frame to have the best chance of resolving near-bottom currents, especially in clear waters. Change verbally approved by Buck R. for deployability (see fig. 1).
i. Add orientation verification reference to Aquadopp clamp mount (Johnny) and ensure correct mounting of instrument in pre-deployment checklist (Mark)!

ii. In March dive, ROV will survey azimuth of BIN Instrument frame alignment groove and sit stationary long enough to get an estimate of predominant current direction. Based on this survey the correct orientation of the Aquadopp and BIN chassis will be established with the BIN frame. The BIN instrument mount (and Aquadopp) will then be assembled to be in the correct rotation when placed in the BIN frame receptacle.

iii. Launch frame for shelf BIN with connector mount in place (bottom will be soft). Plan on moving connector mount for axis BIN during survey mission to establish ease with which this can be accomplished.

iv. Mounts for connector plate should be on four legs of BIN frame. Should be as low as possible to not create hydrodynamic disturbance.
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Figure 1. Final design MSE instrument mount.
2. Should we include OBS on SBE 16 as a backup to Wetlabs ECO?

a. Previous CD deployments have used the analog OBS. YES! Mark C. will contact Rendy to obtain necessary instruments and cables.
3. Schedule and progress update. Deployment schedule is still as planned. Need to double check exact WF days as there have been a few minor adjustments.
4. Review of instrument representative assignments and responsibilities.

a. Barry will be representative on Aquadopp.
b. Ussler will be representative on SBE16+.
c. Ussler will be representative on RDI ADCP.
5. McLane issues: Where to put the swivel (Charlie)? Below the release if at all– Andy. 
