Surface_1446-Garmin_1503

1. Manually-configured instrument settings not handled by service

None


2. Device metadata returned in SIAM datastream

$PGRMC,A,3.5,100,,,,,,A,3,1,1,4,30*56

$PGRMC,A,3.5,100,,,,,,A,3,1,1,4,30*56

3. Instrument-specific service properties

fixTimeoutMsec=900000

4. Initial service property values for this deployment

powerOnDelaySec=0

instrumentName=UNKNOWN

nominalCurrentMa=1000

className=moos.devices.garmin.GarminGPS$Attributes

serviceName=Garmin GPS s/n 81108654

parentID=1446

currentLimitMa=1000

sampleSchedule=R */0 */10 */0 */0 * * * * GMT *

extendedVersion=UNK

frameworkVersion=$Name: march14_2006 $

UUID=5db626e7-8dd5-11da-92c6-00306e389969

powerPolicy=ALWAYS

timeSynch=false

maxSampleTries=15

isiID=1503

sampleTimeoutMsec=10000

commPowerPolicy=SAMPLING

serviceStatus=0

startDelayMsec=2000

5. Results of acceptance test procedures

All Passed

6. Known-service bugs/deficiencies

unable to access XML file

Does not implement snooze while trying to acquire fix







