surface_1446-Medusa_1441

1. Manually-configured instrument settings not handled by service

CPU MAC address: 00:0c:6a:01:02:07

CPU IP address: 134.89.36.57

CPU IP netmask: 255.255.0.0

CPU IP gateway: 134.89.36.200

SideARM IP address: 134.89.36.200

Medusa serial number: 2.007

Medusa ECO level: A

Firmware build: v2.50 [Jan 19 2006 10:21:34]

Toolchain: Rowley gcc 3.4.4

Trunk Failovers: 0 0

Optical port configuration unknown

2. Device metadata returned in SIAM datastream

See (1)

3. Instrument-specific service properties

None

4. Initial service property values for this deployment

powerOnDelaySec=0

instrumentName=UNKNOWN

nominalCurrentMa=1000

className=org.mbari.isi.interfaces.InstrumentServiceAttributes

serviceName=Medusa card s/n 2.007

parentID=1446

currentLimitMa=1

sampleSchedule=R */0 */5 */0 */0 * * * * GMT *

extendedVersion=UNK

frameworkVersion=$Name: march14_2006 $

UUID=e052be35-e4db-11d9-b8bc-00306e389969

powerPolicy=NEVER

timeSynch=false

maxSampleTries=3

isiID=1441

sampleTimeoutMsec=1000

commPowerPolicy=NEVER

serviceStatus=0

startDelayMsec=2000

5. Results of acceptance test procedures

All passed

6. Known-service bugs/deficiencies

unable to access XML file
data indicates no SFP modules configured







