Lab Testing of Gorda Ridge Samples

June 11-16, 2004

Blue munge in seawater using immersion optic (~32 mW laser power)

	File Name
	Accumulations/

Exposure
	Target

	06110004
	15 x 20 sec
	UV seawater in pyrex beaker

	06110005
	25 x 5 sec
	Blue Munge in seawater

	06110006
	25 x 5 sec
	Different munge piece

	06110007
	25 x 5 sec
	Still different munge piece

	06110008
	25 x 5 sec
	Same as 06110007 – peaks near diamond band faded

	06110009
	5 x 5 sec
	Piece 3 repositioned

	06110010
	5 x 5 sec
	   “

	06110011
	5 x 5 sec
	   “

	06110012
	5 x 5 sec
	   “

	06110013
	5 x 5 sec
	   “

	06110014
	5 x 5 sec
	   “

	06110015
	5 x 5 sec
	   “

	06110016
	5 x 5 sec
	   “

	06110017
	5 x 5 sec
	White material

	06110018
	15 x 1 sec
	White material

	06110019
	15 x 1 sec
	Blue munge (note: comment line is wrong)

	06110020
	5 x 5 sec
	   “

	06110021
	5 x 5 sec
	   “

	06110022
	5 x 5 sec
	   “

	06110023
	5 x 5 sec
	   “

	06110024
	5 x 5 sec
	   “

	06110025
	5 x 5 sec
	   “

	06110026
	5 x 5 sec
	   “

	06110027
	5 x 5 sec
	   “

	06110028
	5 x 5 sec
	   “

	06110029
	5 x 5 sec
	   “

	06110030
	5 x 5 sec
	   “


Gorda samples using stand-off optic (~38 mW laser power):


T186-R3
Anhydrite chimney sample (with anhydrite crystals on inside)


T186-R5-2
Breccia sample (light-colored parts are barite, dark is fluorescent)


P5-336 rock 2
Loihi Barite sample

	File Name
	Accumulations/

Exposure
	Target

	06140007
	25 x 10 sec
	Anhydrite chimney sample (back side)

	06140008
	15 x 10 sec
	Anhydrite chimney sample (interior side)

	06140009
	15 x 10 sec
	Anhydrite chimney sample

	06140010
	15 x 10 sec
	Loihi Barite

	06140011
	15 x 25 sec
	Loihi Barite

	
	
	

	06161001
	10 x 7 sec
	Breccia sample (top, light-colored, rough surface)

	06161002
	10 x 7 sec
	Breccia sample (light-colored inclusion on side)

	06161003
	15 x 5 sec
	Anhydrite chimney sample (back side)

	06161004
	50 x 5 sec
	Anhydrite chimney sample (back side)

	06161005
	50 x 5 sec
	Anhydrite chimney sample (back side) – SUMMED

	06161006
	50 x 5 sec
	Same sample moved slightly – SUMMED

	06161007
	50 x 5 sec
	Anhydrite chimney sample (interior side) – SUMMED








