User:  SEAPUPPY\puppy
Wed, 08 Feb 2006 00:44:48 GMT 

Laser Wavelength Calibration passed

Laser Wavelength Calibration:

Laser wavelength:  532.14 nm

	     Nominal             Observed
	     location            location       Calculated
	(cm-1 Raman shift)  (cm-1 Raman shift)  Error (nm)
	------------------  ------------------  ----------
	      801.80              801.80           0.00
	RMS error (nm):  0.00 (Pass)