DORISS/PUP Weights

(From March 4, 2004)

Weighed with an electronic scale in air and in water in the MBARI test tank

PUP (w/ cables, no VIC, no probe head) :


207 lbs.
DRY


55 lbs.
WET

DORISS (w/ VIC and cables and probe head):


462 lbs.  
DRY


123 lbs.  
WET

Previous measurements of the probe head:


27 lbs. 
DRY


13 lbs. 
WET


DORISS/PUP together weighs 178 lbs. WET with 68 lbs. deployed weight (i.e. PUP plus probe head).

The DORISS configuration no longer has the power inverter in the Electronics Housing.

The PUP configuration is two axes (Z and R) with 2 lasers, 1 light, and 1 camera; and a polypro lifting harness.

