
PUP Meeting Notes

February 13th, 2003   1:00 p.m.

ShipsView Conference Room

Attendees:
Sheri White, Mark Brown, Danelle Cline, Scott Jensen, Bill Kirkwood, Peter Brewer

SW’s update:


SW is putting together a small LRS notebook primarily with operational info:

· Contact people (at Kaiser, other vendors, etc.)

· Technical info (o-ring list, gland seal ratings)

· Operations (check list, cheat sheet for using the LRS, LRS Reference Guide)

· Calibration operations (cheat sheet and Kaiser’s procedures)

· Remote stage operations (cheat sheet and vendor manual)


More technical info (schematics, etc.) could be added, or put in a second notebook

· DC suggested adding a table of comm port mapping, etc.

ME update (MB):


Working on two design options

1) shaft design using four cylindrical slides – with wiper seals this would stay clean

2) dovetail design – stiffer, but may not stay as clean (BK disagrees), may need to grease


Currently both designs are over weight, and the electronics housing is fairly big (2 ft long).

· will work with Bill on reducing size/weight


Worked with SJ and BK to reduce actuator connectors from 3 to 1 per actuator


We will not have vibrational problems due to current (will put calculations on Polarbear)

EE update (SJ):


Controller and drives have been ordered



May try to set up other motors with the controllers to practice with


Need to decide on connectors and cables



PBOF (pressure balanced oil filled)?  to avoid defining length now? 




Seems like a good idea




Need to order connectors quick (tomorrow)

SE update (DC):


Nothing to report

Other issues:

· Money


–  PB has some money (~$43+8k) available from Japan that must be spent by March 31st 

· must be spent on CO2 related stuff (we will probe CO2 pools with PUP)

· may be able to transfer money to cover controllers SJ just ordered (~$6,500)

· See LRS_Project_2003.xls on Polarbear

· We have ~$40k for PUP, but need ~$50k (the above could help out with this)

· Probably won’t accomplish TTL this year due to lack of resource time

· DC notes we could use money earmarked for TTL to pay Kaiser to do it

· Camera for PUP


–  good resolution is needed


–  does it need to be focussable?  We need to think about it from the operational side

· Reviews

· DC would like a SE PDR soon

· We want these to occur when useful

· MB is not ready yet

· DC and RH should proceed with one when needed

NOTE:
Spare actuators and electrical spares have been purchased that SEs can use for testing


We need to get the laptop soon to use for testing (RH can set this up)

· The next meeting will be Thursday (February 27th) at 1:00 p.m. in Ships View.       
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