PUP/DORISS Meeting Notes

October 2nd, 2003  1:30 p.m.

Ocean View Conference Room

Attendees:
Sheri White, Bill Kirkwood, Scott Jensen, Alana Sherman, Mark Brown, Rich Henthorn, Karen Salamy, Ed Peltzer, Duane Thompson, Tom Marion

2004 Proposal:

Phase II responses are back and we got approval for our plans to linearize the bench, upgrade the camera, and get the new Kaiser laser.  Next year will be our last year of significant engineering support.  

Current Project Status:

We only have EE time remaining – 15 days of Alan Sherman time.  AS will oversee re-wiring work done by DT and TM.  SJ will provided input as needed.

We need to check our finances, but we should be okay right now.  

EE Issues:

We need to get a new camera cable for DORISS.  The single wires we have now are not sufficient and we are having problems with noise.  We obtained details about the camera cable from Andor and it consists of coax, twisted shielded pairs, and other wires all within a shield.  We will purchase the cable from the vendor and then install it in our system.  The center portion of it will need to be an oil-filled cable to connect the Electronics Housing to the Spectrometer Housing.  

· PBOF connectors need to be ordered from Seacon for the external section of the cable

· We need to get a quote from Kaiser on a new camera cable (2)

We need to get a new cable for the PUP lasers that has 3 foot lengths from the barrel mold.  

· Need to get a quote from Brock on this

We are updating the schematics for DORISS and creating new schematics for the Spectrometer Housing (of which we had no schematics).

PUP needs to have a section of CAT 5 wiring put into the sphere, and magnetic reset switches added.  This will be done after the DORISS wiring upgrade

SE Issues:

There are a couple of improvements to be made to the PUP GUI and to the LRS Client program which reports DORISS temperature and humidity readings.  As there is no remaining SE time, these tasks will be addressed in 2004

ME Issues:

For the upcoming November science cruise (Nov 7th), Peter Brewer may want the probe head in a horizontal orientation on the PUP.  BK will adapt the drawings for this, and we will have John Ferreira do the fabrication.

Ramansbc Issues:

The Raman single-board computer is not behaving properly.  Danelle Cline has done some testing and suggested getting a new memory card for the computer (the current memory may be hosed).  

We need to also consider if spares for the sbc should be purchased.  We have approval to upgrade the computer in 2004 to a PC104 stack.  However, this may be not occur until the second half of 2004.  We need to check on availability of spare parts to make sure we can keep the sbc functional until that time.

November Cruise Prep:

We are going to sea November 5th and 6th for PUP/DORISS testing on Ventana.  The R/V Point Lobos will be in port the week of October 20th.  We need to be ready to do some integration testing with the vehicle at that time.
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