Mesobot LRAUV Configurations

  - Load Control

    - C7			3.3V/5V future expansion

    - C6	xx-232-12	Seabird GPCTD, Serial #, pump

    - C5	xx-232-5	Sparton AHRS-M2 Compass, Serial #

    - C4	xx-232-5	GPS?

    - C3	xx-232-12		C-Star Transmissometer (?)

    - C2	xx-232-12	WET Labs Eco Triplet, Serial #

    - C1	xx-232-12	Aandera O2, Serial #

    - C0	 xx---A/D	PAR Licor UWQ #

    - B7	xx-232-12	Iridium ?, SN, IMEI:

    - B6	 xx-off-12	Cradlepoint WiFi/3G, Serial #, IMEI

        - IP wired: xxx

        - IP cell: xxx

    - B5 XXXXXXX	3/5/12 Power Converter

    - B4    xx-232-24-5A DVL/ADCP, Serial #

    - B3    xx-232-24-5A	Benthos DAT or Micromodem Acoustic Modem, Serial #Tx

    - B2    XXXXXXX	24V Power Converter

    - B1	xx-232-12		Camera housing (cameras, TX2….) (?)

    - B0	xx---A/D	Depth sensor Keller PA-6ST, SN XX

    - A7	xx-232-Batt-5A		SUPR

    - A6  	xx-232-Batt-5A Release motors (?)

    - A5 	xx-485-Batt-5A Thruster channel 1

    - A4	xx-485-Batt- 5A Thruster channel 2

    - A3	xx-485-Batt-5A Thruster channel 3

    - A2   	xx-485-Batt- 5A Thruster channel 4

    - A1   	xx-485-Batt-5A 5A EzServo Variable ballast pump (5A)

    - A0   			Spare Analog Expansion

- Standalone relocations

  - Benthos transponder 26/29 kHz , Serial xxxx, 26/29 kHz

  - Telonics Argos/VHF beacon #xxA,160.785 MHz, Standalone battery powered

- Notes: