## Sheet1
Sampling Period (s) | Average Current (mA) | Peak Current (mA) | Voltage (V) | Average Power (mW) | Peak Power (mW)
5 | 2.5 | 50 | 15 | 37.5 | 750
Deployment Length For Data Formats and Available Memory
| Sampling Period | Recording CT on External 15V | Recording CT&Time on External 15V | Recording CT&Time On Battery |  | Sampling Limits
| 5 | 0.77793 | 0.44209 | 0.13661 |  |  | Recording Scheme | Available Samples
| 10 | 1.5559 | 0.88418 | 0.27322 |  |  | Recording CT | 410000
| 15 | 2.3338 | 1.3263 | 0.40984 |  |  | Recording CT&Time | 233000
| 20 | 3.1117 | 1.7684 | 0.54645 |  |  | Recording CT&Time (On Battery) | 72000
| 25 | 3.8896 | 2.2105 | 0.68306
| 30 | 4.6676 | 2.6526 | 0.81967
| 35 | 5.4455 | 3.0946 | 0.95628
| 40 | 6.2234 | 3.5367 | 1.0929
| 45 |  | 3.9788 | 1.2295
| 50 |  | 4.4209 | 1.3661
| 55 |  | 4.863 | 1.5027
| 60 |  | 5.3051 | 1.6393
| 65 |  | 5.7472 | 1.776
| 70 |  | 6.1893 | 1.9126
| 75 |  | 6.6314 | 2.0492
| Test Duration (min) | Sample Period (s) | Total Consumption (mWhr) | Consumption per Sample mWhr
| 10 | 15 | 20.4 | 0.51
Power Analysis
Available No Samples in 7.1Ahr Pack
2088235.2941