## Slide 1: Optical Design: Imaging Geometry Simulation
10 cm
30 cm
60 cm
Individual particles have much better contrast at 30, 60 cm compared to 10 cm
Overall image contrast is significantly higher at 30 or 60 cm compared to 10 cm

## Slide 2: Camera Comparison
Raytrix R26
Raytrix C42
Blackfly (IMX183)

## Slide 3
Jun 2019
Apr 2019
Aug 2019
Marine Imaging Workshop 2019 3D particle counting lab studies
Cabled Instrument Preliminary Design Review
Deployment on MiniROV / WF
Nov 2019
Visit to Raytrix, Camera Selection
Jan 2020
Concept for AUV system
Feb 2020
Ocean Sciences 2020
Apr 2020
Strobe Concept Review
Aug 2020
Deployment on
ROV Doc Ricketts / WF
Jun 2020
Zoom Lens Addition
Oct 2020
LRAUV Integration Preliminary Design Review
Jan 2021
SICB 2021
Mar 2021
LRAUV Payload Completed Drawings
May 2021
Deployment on ROV Ventana / RC
July 2021
Deployment on ROV Doc Ricketts / WF
Aug 2021
Deployment on ROV SuBastion / FK
Nov 2021
Oct 2021
Deployment on ROV Doc Ricketts / WF

## Slide 4: Lightfield Data with Structure from Motion
Combine many point clouds of an Isidella coral together to build a larger point-cloud

## Slide 5: Realtime Surface Visualization

## Slide 6
Jun 2020
Jun 2019
Apr 2019
Aug 2019
Marine Imaging Workshop 2019 3D particle counting lab studies
Cabled Instrument Preliminary Design Review
Deployment on MiniROV / WF
Nov 2019
Visit to Raytrix, Camera Selection
Jan 2020
Concept for AUV system
Feb 2020
Ocean Sciences 2020
Apr 2020
Strobe Concept Review
Aug 2020
Deployment on
ROV Doc Ricketts / WF
Zoom Lens Addition
Oct 2020
LRAUV Integration Preliminary Design Review
Jan 2021
SICB 2021
Mar 2021
LRAUV Payload Completed Drawings
May 2021
Deployment on ROV Ventana / RC
July 2021
Deployment on ROV Doc Ricketts / WF
Aug 2021
Deployment on ROV SuBastion / FK
Nov 2021
Oct 2021
Deployment on ROV Doc Ricketts / WF
Deployment on LRAUV

## Slide 7: Operation Modes Within One Mission
Still Imaging
Continuous operation at frame low frame rate ~ 1 Hz
Rates may be adaptive to depth and/or particle concentration
Applications: glider-like transects, front detection
Video Recording
Infrequent bursts of 30 or 60 FPS video
Vehicle may need to hover during imaging
High power draw and data rate
Applications: 3D particle tracking velocimetry

## Slide 8: Mechanical Design: Thermal
34.2 C
30 C
11 C
Internal temperature of chassis for 7 C
external temperature in seawater
Details: 08-EyeRIS-Thermal-Calculations.pdf

## Slide 9: Lab Calibrations: Estimated Particle Concentrations

## Slide 10: Zooplankton Avoidance
0.1 1/s
Selected a 0.5 m distance in front of the vehicle as a target for the focal plane.
Simulations showed a shear of less than 0.1 1/s at this range and this level is below the threshold for many of the larger (> 1 mm) plankton

## Slide 11: Mechanical Design: Camera and Electronics (300m)
6000 m rating requires
Ti 6Al-4V material, 0.32” thick walls,
Same OD,
1.5” longer, 2” thick sapphire port,

## Slide 12: Electrical Design Overview
RUN
5V DC/DC
32-bit MCU
SAMD21
LowPowerLabs
Cree XD16
15 Series
4 Parallel
Thermal Protection
Input Voltage
9-36 V
42 V
Strobe Head x10
EyeRIS Can
FLASH
CURRENT
RS-232/485 transceiver
UART
Input Protection
Serial
FLASH
TRIGGER
Exposure
Signal
CAP
VOLTAGE
MUX
OVP
5 V
Strobe Ballast and Flash Switch
Dual Jetson TX2 6 MIPI cameras 1 USB3 camera Data Storage
UART
Battery Charger & Power Path
Ethernet
5 V
Battery
RUN
SMBus
SYS
CURRENT
Ground Fault
Signal
Exposure
Signal
Input Voltage
Battery or Input voltage
42V Strobe Voltage
Digital Low voltage
Analog Low voltage
RS-232 or 485

## Slide 13: Electrical Design: Power Path

## Slide 14: Optical Design: Example Raw and Refocused Images
Far
Near
Raw Image from R26
Total Focus Image from R26
Far
Near
Depth of field target with metric scale on 45 degree ramp, with in/cm ruler in middle position

## Slide 15: Optical Design: Imaging Geometry Simulation
Blender simulation
  Six lights in hexagon
  One camera at center of hexagon
  Target at 1 m range
Vary the size of the hexagon to test different source-receiver separation
Camera
Light1
Light2
Light3
Light4
Light5
Light6
Target
1 m
10 cm
30 cm
60 cm
Spot Light
Camera

## Slide 16: Optical Design: Imaging Geometry Simulation
10 cm
20 cm
30 cm
45 cm
60 cm
6.2 particles / liter, scattering density = 0.5
62.5 particles / liter, scattering density = 1.0
625 particles / liter, scattering density = 2.0
Increasing size of hexagon

## Slide 18: Illumination Design

## Slide 19: Future Work Towards Fundamental Problem
Wide-baseline multicamera arrays
Cabled Instrument: Internal Chassis