EyeRIS Blog Post (Paul Roberts)

I joined MBARI in February of this year to work with Kakani Katija and the Bioinspiration lab to build perhaps the first ever deep sea plenoptic (3D) imaging system. This project, funded by the Gordon and Betty Moore Foundation, aims to develop a suite of 3D imaging systems for studying particle fields, small-scale fluid mechanics, and deformable surfaces.

We worked intensely between February and August this year to design and build the first version of the system with the hope we could deploy it on the MiniROV during the BioInspiration Lab’s Western Flyer cruise this week. Everything came to together and we had the system working well in the test tank last week with high hopes for a successful cruise.

EyeRIS was deployed for the first time at Midwater 1 on August 14, 2019. To our delight, the hardware performed well and we recorded 3D video of a variety of gelatinous plankton, particle distributions, and flow fields.

The next day, building on the success of the previous dive we aimed to complete a vertical transect to 1000 m to study changes in the concentration and spatial distribution of natural particles as a function of depth in the water column. However, as we descended we lost communications with the plenoptic camera at a depth of 300 m. Fearing the worst, the dive was aborted and we returned to the surface to find that one of the subsea fiber-optic cables that connect EyeRIS to the MiniROV had fractured. This was actually great news as it meant the sensitive electro-optics inside the pressure housing were okay and all that was needed to resume operations was a replacement fiber-optic cable (we had two spares).

Dive operations for EyeRIS and the MiniROV resumed bright and early on Friday morning and with the new cable we successfully completed a 6 hour dive down to 1000 m, recording over 2 TB of 3D video data from a variety of animals. Below is an example on an animal swimming in the field of view of the camera with a 3D depth overlay (orange is near, blue is far). Surrounding the animal we see a field of particles distributed in 3D that vary in size from a few 100 micros to a few millimeters.

Captions:

C17A1340 - EyeRIS First A-Sea Deployment: EyeRIS deployed in the middle of the tool sled on the MiniROV. (Photo Joost Daniels)

C17A1407 - View from the control room:  From left to right: Paul Roberts, Steve Henderson, Ben Erwin, and Dale Graves. (Photo Joost Daniels)

C17A1427 - Animal Tracking with EyeRIS: Knute Brekke flying the MiniROV while tracking a squid. The red lights from EyeRIS light up the science camera and on the screen above the refocused image from EyeRIS is shown. (Photo Joost Daniels)

C17A1430 – Real-time 3D data: Paul views the depth map (color coded 3D image) of a squid and surrounding particles. The camera software for EyeRIS render these maps from raw image data in real-time. (Photo Joost Daniels)

IMG_3088 – Tracking a Jelly (name?): Ben Erwin flying the MiniROV to hold a small Jelly in the field of VIEW of EyeRIS (screen left column second from bottom). The depth map helps aid positioning the vehicle to keep the animal in focus. (Photo Susan Von Thun)

Broken Fiber: To confirm that the fiber cable is broken we shoot a bright light source down the fiber and look for light leaking out the jacket. Sure enough, you can see a bright red spot shining through the middle of the cable where no light should be. (Photo Paul Roberts)

siph_depth_overlay_export_30fps-640 - Animal swimming three-dimensional video 1: The plenoptic camera can estimate 3D information from each camera frame. Here, the reconstructed “Total Focus” image is overlayed with the estimated depth map. The depth map code depth into color where red-orange is roughly 65 cm from the camera and blue-green is 75 cm from the camera.  (RxLive Software)