PreDeployment Task List

Feb 21, 2008

1. Shore station

a. *Bolt down rack top and bottom (Greg V)

b. *Hook up fire suppression (Tri county)

c. MV rack (Ken)

i. *Move equipment from test tank rack to SS rack

ii. Add light

iii. Add interlock

iv. Wire up Voltronics voltage and current monitor

d. DCS Rack (Ken, Gene, Craig)

i. Install server

ii. *Install purple box

iii. *Install Digi terminal server

iv. *Install Omnitron media converter

v. *Install fiber patch cord as necessary

vi. Install PMACS client if desired

e. *Get some kind of Voltronics monitoring script going (Rich)

2. MARS Lab

a. *Repatch for final fiber configuration (Gene)

3. Other

a. *Review deployment plan (all)

* Indicates must do items.

