Issues with Omnitron OST Devices

Omintron Systems   140 Technology  #500   Irvine Cal. 92618

Will

RMA 7161

ext 8210 Will

FlexPoint 4371 putting out 2dBm @ 1300nm

S/N = 100126

