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1 general

The artificial line is intended to be used for testing the MARS MVC. Great care must be taken because of the risk of a lethal shock from stored energy. Each capacitor has a discharge resistor of 20M and the unit is supplied with shorting links at both ends.  The links should be removed for usage and put back for storage. 

Before any connection is touched by personnel it must be shorted to the sea ground using an earthing rod. This should be written into the laboratory procedure and must always be followed. 
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