Friday, June 18, 2004

Attending:

Objective: 

Review MBARI-CIMT deployment and open issues

Agenda:

Deployment

· What worked

· Good first try for that type

· What didn’t

· Buoy launch – horizontal  deployment ; 

· SOON controller antenna : should have left off

· ISUS (air bubble)

· Are sensors made to be submersed? (which ones)

· (why is watch circle smaller than anticipated ? chain is heavy.. anchor on top of chain? A good storm will provide answers)

· things get hot when buoy is on deck – use cover

· radio under water

· SOON integration was clumsy 

· New SOON GPS antenna is working

· SOON data integration not a good tradeoff for other SSDS functionality. Several days required to do custom work.

· Split P.O.s were a hassle; might be easier to have centralized number – hard to do in conjunction w/ grant.

Maintenance Trips

· Comments on serviceability (2 trips)

· Calm days are better; marginal at M1 day; does tilt when a door is opened, even w/o wind.

· Raised elevator cage; height of foam pack above water doesn’t allow water in elevator to be agitated (to prevent bubbles)

· Bad OCR shutter needs to be fixed

· Biofouling on load resistors – check 

· Maintenance as needed; time permitting on other scheduled Mn trips

· Building buoy farm around CIMT (including vertical profiling); ESP will be deployed there for short periods; Ryan to deploy MVP, separate ADCP mooring. 

· Can also go every  weeks as part of Pt Lobos series of cruises

· No buoy scheduled maintenance items on CIMT buoy

MOOS Parts I.O.U.

· None pending

· Two connector sets

·  power trackers

OSG Parts I.O.U.

· None pending

Power budget overspent by several $k. May be labor $ left in power system budget. OSG replacements can be taken care of from external $. 

Keith question…

Need to go back and check that all thing charged to correct budgets (headley, chavez)

Documentation

· Drawings etc.

· (Feedback on SIAM user docs; Zorba)

· Summary Document

· Info Correct

· OK for IP

· OK for Security (too much detail for vandals?)

· Send released version\

· (would be good to have documentation task in project to coordinate documentation – web page, tech writers): discuss off line

Spares

· MMC

· vents

· housing, chassis fit (Ed has housing)

· golden bits version (will clone deployed article root fs)

· Install 4 GB CF

· Close can (do checklist)

· Compass Cal

· Power Can (being built)

· Pucks : have housings, molded pucks may be available soon, 

· Cables (instrument, power, test) (ken putting together for spare cable set) (OSG needs lab test cables)

· RF infrastructure (have full spares)

· Francisco will buy full sets of instrument spares

SIAM Issues

· ISUS Service

Instruments

· OCR shutters

· ISUS biofouling, service()

· SOON/Orbcomm/CO2 ()

· GPS (getting data)

· PCO2( getting data)

Radio Infrastructure

· Status

· Good link margin 30 dBm

SIAM

· Status

· Bug list ; class loading bug (have workaround); upgrades maybe in the fall

SSDS

· External access to data

· QC Plots

· User story implementation status

· External processing (status)

· APIs (status)

· SOON data integration (% complete, QC plots)

· Linkage of externally processed QC plots with SSDS native (status)

· Metsys, tstring, adcp in house 

· Query/merge utility

· Plot tweaks – wind stick, SOON GPS

Other Issues:

· Open

· Experiment w/ different CTDs at CIMT – 2 additional CT sensors (in hand), when could we do it? Cables, connectors, pucks; who’s buying? $750 / instrument for cables connectors 

· ISUS driver










