MBARI-CIMT Instrument Readiness Review

Date: Friday, May 14, 2004 

Time: 11:00

Location: Bldg G

Agenda:

The instrument readiness review meeting follows two weeks of nightly tests with data published for review by the instrument reps. The meeting is intended to confirm that all instrumentation is correctly configured and operating nominally.

In this meeting, instrument reps will report on any open issues with instrument configuration and data streams. Results reported should include:

· Known issues with the instrument configuration and data streams.

· Whether or not the instrument is ready to be deployed.

· A brief description of the method used to QC the data stream.

· Any pertinent configuration settings and their current settings.

SIAM reps are will report on the results of acceptance test procedure (ATP) status for their instruments (an indication of the operability of the various instrument services). Results reported should include:

· ATP test result status

· Description of failure modes where applicable

If you are unable to attend this meeting, please submit a written summary of your results by Thursday at 15:00. 

	Instrument
	SSDS Device ID
	Instrument Rep
	SIAM Rep

	Metsys
	1321
	Bahr/Pickerill
	O’Reilly

	ADCP
	1267
	Bahr/Headley
	Headley

	Serial CTD
	1314
	Bahr/Coenen
	O’Reilly

	Inductive CTD String
	1319
	Bahr/Coenen
	Risi

	ISUS NO3
	1268
	Johnson/Chavez
	Headley

	SOON CO2
	1275?
	Friederich
	Headley

	Radiometers
	1312,1320
	Mahoney
	Risi

	Fluorometer
	1279
	Harlan/Michisaki
	O’Reilly

	Backscatter
	1301
	Harlan/ Michisaki
	O’Reilly

	SOON GPS
	1302 (GPS) 1303(Orbcomm)
	Friederich
	Headley

	GPS
	1313
	Headley
	Headley

	Power System Data
	1322
	Mellinger
	Risi

	MSP430
	1300
	McBride
	Risi

	MMC Node
	1299
	O'Reilly
	O’Reilly


