	
	
	

	test0001.MAT
	9/17/04 10:46 AM
	

	testMAG0001.MAT
	9/17/04 10:56 AM
	Test w differential channels to see if magnetometer working.
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	Test in single-ended mode to see if electrode measurements making sense.

	test_dc_coupled_mag0001.MAT
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	Test in differential mode to see if magnetometer (in original arrangement) is working.
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	Test to see if 100 gain electrode channel receiving (on seafloor, I think)

	test_electrode_100gain_no_hydraulics0001.MAT
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	Test to see if 100 gain electrode channel gives lower noise reading with Ventana hydraulics off.

	test_magnetometer_no_hydraulics0001.MAT
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	Test to see if dc coupled magnetometer channels provide lower noise with hydraulics off.


