Rover Turn-Around Check list

v. 1.0.2

October 22, 2020

After Rover has been recovered and hosed off, plug in the deck cable. Depending on battery levels you may need to also use deck power to power the Rover.

RECOVERY

- Data

  - Download all data off the Rover

- Beacons

  - Leave Satellite beacons on until you see email traffic from both beacons, then they can be turned off.

    - The Iridium Wabo needs a magnet to turn it off, the magnet is in a small baggy taped to the manual

    - To turn off the new Iridium beacon, the iBcn, attach magnet

    - The Argos has a typical switch that when inserted and rotated 90 degrees will turn the beacon off

  - Make sure both strobe and RF beacon were functional before using plastic switches to turn off

- Comps

  - Check all comps:

    - Prop motors (2)

    - Rack motors (2)

    - Current meter

TURN AROUND

- Battery Replacement: The following batteries must be replaced:

  - RF Beacon on spar buoy (alk. C cells)		__________

  - Strobe on spar buoy (alk. C cells)			__________

  - Argos beacon (alk. C cells)				__________

  - Iridium Wabo (custom alk pack)			__________

  - Iridium iBcn (Li D cells)				__________

  - Benthos MF modem (Benthos made pack)		__________

  - Benthos LF modem 					__________

(cust alk pack, Battery Station)

  - Main Vehicle Batteries				__________

(Li packs, Electrochem, 4 per sphere)

- Data checks

  - Respirometer data: data must be checked throughout the deployment for the following respirometers:

    - Stbd Chamber				_________

    - Stbd Reference				_________

    - Port Chamber					_________

    - Port Reference				_________

It is very important to establish that chamber O2 is decreasing. I have attached some typical plots at the end of this file. The absolute value of the O2 conc or saturation is not as important as the rate of change. I recommend checking at least 4 random samples throughout the deployment.

  - Current meter data:

  - Check the following images:

    - Stbd Chamber camera			_________

      - Evaluate quality of image:

__________________________________________________

      - Replace with refurbed Nova?	__________

      - Can you read rulers?			_________

    - Port Chamber camera			_________

      - Evaluate quality of image:__________________________________________

      - Replace with refurbed Nova?	__________

      - Can you read rulers?			_________

    - Transit camera 				_________

      - Is strobe firing?			_________

    - Fluorometer camera				_________

      - Can you see standard?		_________

  - Engineering logs

  - Modem transmission logs

- Check vehicle condition

  - Comp hoses (any cracks, leaks, loose hose clamps)	_________

  - Check treads (any corrosion at the seam, debris caught)  _________

  - Check connectors 						__________

    - Sphere bulkheads

    - Cable connectors

    - J-boxes

    - Instruments

  - Check camera glass ports 					 __________

  - Drop weight Release

    - Remove drop weight assembly for servicing	__________

    - Load new burnwire					 __________

    - Check climbing strap for any weakness		 __________

    - Load new drop weight				___________

    - Test burnwire with volt meter by activating through modems

      - LF modem BW activated (~13.7V)		___________

      - MF modem BW activated (~13.7V)		___________

      - Make sure both BWs turned off		___________

- PreDeployment Preparation

  - Inspect newly replaced LF Modem				___________

  - Replace Nova if needed					___________

  - Swap out calibrated optodes (2 max)			___________

  - Re mount beacons/modems on spar buoy and vehicle, and retest functionality:

    - MF modem						___________

    - Argos beacon						___________

    - iBcn Iridium beacon					___________

    - Wabo Iridium beacon? 				___________

    - RF beacon (spar buoy) 				___________

    - Strobe (spar buoy) 					___________

  - Run predive test script					___________

- Deployment

  - Perform deployment checklist				___________

  - Remember to purge chamber valves			___________
SAMPLE DATA