## Slide 1: MBARI Benthic Rover at Station M
Towards Continuous Long-Term Deep-Ocean Observation in the Northeastern Pacific
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
Richard Henthorn
Notes: Add name. Center MBARI.

## Slide 2: Introduction
Rich Henthorn
  Software Engineer at the Monterey Bay Aquarium Research Institute in Moss Landing, CA
Acknowledgements
  The David and Lucille Packard Foundation
  MBARI’s Pelagic-Benthic Coupling Lab
  Scripps Institution of Oceanography
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
Richard Henthorn

## Slide 3: Introduction
Agenda
  Station M Time-Series
  Classic Monitoring Methods
  Benthic Rover
  Compare Respirometry measurements
  Fluorometry
  Future Plans
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
Richard Henthorn

## Slide 4: Station M
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
Abyssal plains so many km off California coast
4000m depths
12-hours from MBARI
Richard Henthorn
Notes: Add small star to Sta.M map

## Slide 5: Station M
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
Richard Henthorn
Notes: Happening place - partygoers

## Slide 6: Station M Time-Series
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
Monitor particulate organic carbon (POC) flux
Observe how changes in POC flux effect the sediment community
Begun in 1989 by Ken L. Smith at SIO
Continued at MBARI since 2006
Richard Henthorn

## Slide 7: Classic Monitoring Methods
Sediment Traps
Time-lapsed photography of the seafloor
Benthic respirometers
  Estimate Sediment Community O2 Consumption
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
NEPTUNE Canada
MBARI
Richard Henthorn
Notes: All these methods have evolved to some degree. Why do we estimate SCOC?

## Slide 8: Classic Monitoring Methods
Free-Vehicle Grab Respirometer
  4 respirometer chambers conduct 48 hr measurements
  Scoops grab samples of measured sediment
  Returns with measurements and samples
  ~3 samples/year
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
Richard Henthorn

## Slide 9: Benthic Rover
MBARI Continued development begun at SIO
Untethered autonomous vehicle
6000m rated
Conduct B-R measurements continuously for 1+ year
~150 samples/year
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
Richard Henthorn

## Slide 10: Benthic Rover
Operational Profile
Transit to measurement site
Image measurement area
Insert B-R chambers
Measure O2 for 48hrs
Raise chambers
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
Richard Henthorn

## Slide 11: Benthic Rover
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
Richard Henthorn
Notes: Note chamber cameras and stirring rods for mixing.

## Slide 12: Benthic Respirometry Comparison
Increased sample frequency
  150 from 3-4 per year
  Observe seasonal and episodic changes
Add some context
  Current meter
  Other instruments TBD
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
Richard Henthorn

## Slide 13: Benthic Respirometry Comparison
MBARI
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
155 Rover SCOC estimates Nov ‘11 – Nov ‘12
3 hypothetical FVGR estimates
Bottom-line: Observing details and events
Richard Henthorn
Notes: How many Rover SCOC points?

## Slide 14: Fluorometry Images
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
MBARI
Chlorophyll-a
One image per site
Richard Henthorn

## Slide 15: Fluorometry Images
Mean gray fluorescence from Rover images (red)
Phytodetrital % seafloor cover estimated from hourly tripod images (black)
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
Richard Henthorn

## Slide 16: Future Plans
Remote vehicle comms and control
Expand vehicle instrument suite for additional context
Replicate vehicle for other time-series
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
MBARI
Richard Henthorn

## Slide 17: Questions
Intro Sta.M Classic Rover BR Comp Fluoro Future
ASLO 2014 February 26, 2014
Monterey Bay Aquarium Research Institute
Richard Henthorn
Notes: Team images