Three laser calibration

Doc Ricketts

October 22, 2020

- Lasers on ring mount attached behind the camera shroud, up snug against the shround.

- 12V

- Laser 1 at 10 o’clock while facing the camera lens

- Laser 2 at 2 o’clock

- Laser 3 at 6 o’clock

Lasers repositioned to hit the 3 blue dots on the calibration target when calibration target set 1.2m from the front of the lens housing glass, center.

Blue X in the center of the calibration target set to be the center of the camera lens by observation in the control room, moving the camera to set the center at the X

Measurements

- Frame 89  120.0cm from lens

- Frame 91   85.5cm from lens

- Frame 96   49.0cm from lens

- Frame 98   185.9cm from lens

- Frame 100  308.0cm from lens

- Frame 102   282.5 cm from lens

- Frame 103   258.5cm from lens

- Frame 104   229.4cm from lens

- Frame 105  206.0cm from lens