Pelagic Benthic
Feb 5, 2013

1. Hours on project

	Engineer
	Hours allocated
	Hours used
	Hours for cruise
	Remainder

	Alana
	500
	40
	100
	360

	Paul
	240
	13
	100
	127

	Rich
	350
	6
	100
	244

	Brett
	100
	5
	0
	95

	Larry
	200
	27
	
	173

	Johnny
	
	
	100
	


2. Project Tasks

a. Board meeting

i. Slide with SES, Rover, Cam, Sed Traps (Diagram showing deployment configuration augmented with instrument pictures) –Annette, Alana and Crissy
ii. Images of salps –Sooz, Crissy
iii. Figure with 4 or 5 frames: surface chlorophyll, POC flux 600 mab, SES fluorescence, SCOC, megafauna density -Crissy
b. Benthic Rover

i. Design and test Rover Sleepy board – Paul 
ii. Swap optodes?
iii. Make spare

1. deck cable –Rich

a. order connector –Alana

b. check if it works with wifi router –Rich

2. junction box

iv. Data analysis – Alana No Progress
1. plot June 2011 data along with Pulse 59 and 60
v. Data backup –Rich  
1. Come up with meaningful time estimate –Rich 
a. Investigating what kind of change to the kernal

vi. Wish list

1. better chamber camera
2. fluoro reference on bumper –Crissy
c. Time Lapse Camera

i. Determine issue with Anywhere USB, was networking issue with razorback.- done
ii. Figure out angle of camera –Paul

iii. Determine FOV in test tank 
iv. Adjust lights –Johnny

v. Adjust camera settings based on test tank images

vi. Do power testing with WattsUp in tank –Alana
vii. Get current meter working –Paul

1. O-ring spares kit, waiting for quote
viii. Mount current meter –Johnny

ix. Make short spar buoy -Johnny
d. SES

i. Motor leaking a bit of oil
1. get spare motor quote 

a. emailed Mclain

2. Old motor seems good, huge progress
a. Replace shaft seal

b. Fill with oil

c. test

ii. Add feature to wakey such that it will remove power from stack if has been awake for more than X minutes –Paul, with Rich’s help

iii. Figure out FOV for SES camera –huge progress
1. given Brian Sclining’s feedback will calculate FOV

e. LSTs

i. Upgrade electronics to custom microprocessor board?

ii. Fuel gauge, needs more investigation
1. look into Dallas part used by Chaffey –Paul

iii. Actuator replacement of burnwires?
f. Sediment traps

i. Fix clogging issues

ii. New fiberglass sediment traps 

1. send PO to Elkhorn -Brett

g. Other

i. Research into calibration for fluorometry –Crissy

1. still looking

2. gonna talk to a lot of people

ii. Inventory of drop weights –Crissy no progress
iii. Look at budget to see how much money we have left 
1. looks better than I thought we are not broke

2. email doug and mike pinto on batteries for jan 2013 cruise

