12 March 2013 lab meeting

Engineering:

Rover Refit plan:

- Batteries

  - Lithiums need to order (Alana)

  - Alkalines we'll order as well (Paul)

  - Save MF modem battery pack when it returns (Paul)

- Send MF Modem housing to Benthos for replacement (Alana)

- Switch out Iridium beacon and return WABO

  - Alana will order

- Install Wakey board and test (Paul and Rich)

  - Add wakey to schematic (Alana/Paul)

  - Modem interrupt line (Alana to check schematic)

- Modem comms protocol upgrade (Rich)

  - Design for both Rover and SES

- Replace optodes w/calibrated optodes

  - Check the number of calibrated optodes (Rich)

- Service/calibrate Current meter (Paul)

  - Paul to check on this

- Build/test spare jbox x 2 (Johnny-Boy)

  - Paul to check wiring (green cable from jbox MIN-M 26)

  - Evaluate cable for intrusions (Alana)

- Data backup (Richie Rich)

  - USB stick backup drive

- Mechanical servicing (Johnny-Boy)

  - Comp belaphragms and clamps

  - Change TI Seacon o-rings?

  - Inspect drive belts

  - Inspect treads

- Schedule test-tank (Rich)

- Wave glider test while at Smooth Ridge (Rich)

  - Interrupt line at least

- Test spare strobe - Lantern Shark (Alana)

  - $10K ($10K ?!?!?!?) strobe

  - Pressure test

- Chamber camera upgrade (Paul and Alana)

  - For quality, not so much for accuracy

  - Do we have fund$

  - Cameras/video server/connector upgrade?

Science!

- Larissa to work on getting collaborator status (Linda, Crissy)

- Stereo cam (Kathy):

  - Cal. Cube getting shots in test tank to work on camera distances

  - VARS cal. Card to go down in April, ROV will take pics

- April cruise- 5 participants- we each get our own stateroom

- Scanner group – training to use scanner- long rolls of film posing problems (Crissy to follow up on 19th, after training)

- Sargasso paper coming along (Susan, Crissy, Alana, Ken)-

  - Analyses are done

  - Working on discussion

  - Fix legends

  - Rough draft by cruise

- Growth and reproduction of holothurians- meet on Monday Ken, Linda, Larissa, Crissy

- Ken- telecom with Steve Rock and Tim Shaw about Antarctic

- Ask Linda about this summer’s Intern

- Google earth seminar- 13 March

- Time Series paper- not bad, coming along (KLS)

- Scan Pulse notebooks- 43-56 done so far, searchable pdfs in respective Pulse folders on server.

- SES paper- working on writing up graphs (Paul)

  - Rough draft by cruise