| 2 Dec 2015 |  |
| --- | --- |
| To do | Current meter repairs after Jan 1 they will honor quote Order more re-enterable after cruise Tom is going to move strobes over today. Once of two sealed strobes did not hold vacuum. Going to reseal, then put in lab PAUL to make beacon spreadsheet (inventory) On Wed morning of each week resend week notes SES has VHF but no satellite- get satellite FIND Color plate- CRISSY to get image from Kathy- still no reply from Kathy Need to send in new drawings of battery schematics to allow correct connectors from factory- All SES, Rover and Camera tripod. Check current drawings. ALANA and PAUL Check Rover drawings of connectors burnwires and SW ground ALANA and PAUL |
| Budget | Tally 2015- CRISSY Year end 2015 and early 2016 expenses- EVERYONE- send Crissy your wish list and cost estimates |
| Pulse 66 Cruise debriefing | LF modems do not work. Will go over what we’ve changed Order spare seacon connector for new cable PAUL- Tell them the problem and send them the cost of the dive. Then ask them where to get support. Have cable made. Hot dogs are crap shoot at 4000 m. But they can have more problems. Have ends molded at seaconn. Do some kinds of faults reduce signal quality? Replace transducer and transducer cable? We have spares. Could it be a splice under pressure issue? |
| Rover | Axis video receiver- is there a replacement? It’s a potential area of vulnerability. Spare is not exact same model, and is even older. Look into getting same model ALANA Disk corruption issue. RICH What can we do if this happens again? No progress Cameras spares: B&H- Do we have the money?? Going to buy a spare lens like the one the transit camera uses. Give Brett the one we borrowed. We don’t have a spare flat port for the prosilica housing (transit cam). Replacement optics. Have housing with chassis and power supply. Strobes: ALANA has a spare but there is a pressure cycling issue10K lantern shark? Needs testing. Alana made all cabling. Test in pressure tank Assess all spares in Jan Check optode 801 and connector ALANA JOHNNY (2016 or once confirmed have $) buy more weights (bar). Buy 10ft. |
| Grab resp | Look at data. At least one yielded only one value. Check cables- CRISSY |
| Engineering general | Desiccant is in drying oven. Put in box in Rover lab- CRISSY. |
| Flashers and beacons inventory | CRISSY to give PAUL notes and pics on all that are currently deployed |
| SES | In future should put an argos on it For Battery master list- Half a sphere runs it for 17 months TS 7250 we own two but they are not identical but they could be spares. Should RICH set up that spare? Yes. So will have spare processor, camera- just ordered |
| New battery housing endcap-Alana and Johnny | Have all connectors, have to decide where to put them. Have connectors, proceed cheaply- too successful elsewhere |
| Snappy software-Rich | Alana- Needs to setup with camera, strobe, LEDs. The Rich will do the software. On hold. Not on fire |
| LED lighting-Brett | Have arrived. Brett has used his set in AUV. They work in the tank but don’t know lighting specs. Charge cycle is similar to current strobes, but can be adjusted |
| Scanning contract-Crissy | Ongoing- might go to SF Friday |
| Multibeam data | Talked with Kelly, preparing paper for DSR because not calibrated |
| Manuscripts | - SES paper- Fluorometer standard. On track to finish this by Nov? Table and reference objects - PAUL to send CRISSY link of SES images. Crissy to annotate images in VARS and get surface area - Table next Wed (PAUL) - Station M modelling- Kathy incorporating comments - Megafauna sizing- still in review. No response from status check |
| Camera tripod | Bathysnap- own housing? How to synchronize? Remote shutter, give it long exposure time. We don’t know if we can get another camera from her. Just use our system Test deploy it at MARS Think about options Get from Jen- specs of Bathysnap- height, type and angles of camera and strobe, type of camera, port, etc. Any spare parts we can use?? Test it in June (Carson dates). Alana |
| Personnel schedules | Paul and Johnny taking off as often as possible |