| 18 Nov 2015 |  |
| --- | --- |
| To do | Current meter repairs after Jan 1 they will honor quote Order more re-enterable after cruise Shipgoing inventory complete Paul to make beacon spreadsheet (inventory) SES has VHF but no satellite FIND Color plate Need to find a place for the strobes that haven’t been pressure tested yet. Of others: One that had spalling Jose put into a box. Small ones from Castroville will go in tin shed Anything that can’t fit in the tin shed or the container, get rid of Need to send in new drawings of battery schematics to allow correct connectors from factory- All SES, Rover and Camera tripod. CHECK CURRENT DRAWINGS. Check Rover drawings of connectors burnwires and SW ground |
| Pulse 66 Cruise debriefing | LF modems do not work. We had replaced a cable because of a seaconn connection broke. Before this cable change, it worked fine. It provides good insurance in case there’s an issue with the ROV. We think the issue has been solved. Pinning on SW ground. MF modem problem has been solved. Tell them the problem and send them the cost of the dive. Then ask them where to get support. Have cable made. Hot dogs are crap shoot at 4000 m. But they can have more problems. Have ends molded at seaconn. Do some kinds of faults reduce signal quality? Replace transducer and transducer cable? We have spares. Could it be a splice under pressure issue? |
| Wave glider | Done and scheduled for April is next one |
| Rover | Axis video receiver- is there a replacement? It’s a potential area of vulnerability. Spare is not exact same model, and is even older. Look into getting same model (Alana) Disk corruption issue. RICH What can we do if this happens again? Cameras spares: Going to buy a spare lens like the one the transit camera uses. Give Brett the one we borrowed. We don’t have a spare flat port for the prosilica housing (transit cam). Replacement optics. Have housing with chassis and power supply. Strobes: Alana has a spare but there is a pressure cycling issue 10K lantern shark? Needs testing. Alana made all cabling. Test in pressure tank Assess all spares in Jan Take bad optode connector to Alana No leaks with rack motor housings etc Johnny needs to buy more weights (bar). Buy 10ft. Have new RF beacon Check on 2016 budget for spare beacons Paul has new beacon inventory (VHF, strobes, argos and iridium) |
| Grab resp | Crissy to look at data. At least one yielded only one value. Check cables |
| Engineering general | - Talk about strobes after cruise. Need to find a better place for the new ones made up - Desiccant is in drying oven. Do you have the box? – In Rover lab. Take boxes to Larry |
| SES | In future should put an argos on it Battery needs half a battery Make sure to pack standards, dark curtain TS 7250 we own two but they are not identical but they could be spares. Should Rich set up that spare? Yes. So will have spare processor, camera |
| New battery housing endcap-Alana and Johnny | Have all connectors, have to decide where to put them. Have connectors, proceed cheaply- too successful elsewhere |
| 1-2 more strobes Alana, Brett | NO. Pressure test after cruise. ready for pressure testing when we have $$. Those will be spares 3,4. We will go to sea with ones that are already pressure tested as spares Low on priority |
| Snappy software-Rich | Alana- Needs to setup with camera, strobe, LEDs. The Rich will do the software. On hold. Not on fire |
| Optodes | Crissy to check Optodes SN 801 to troubleshoot whether it’s prob w optode or adapter. In Alana’s hands |
| LED lighting-Brett | Got $$$, order is submitted for 50% down payment. Rattle cages. Went to the company and everything is on schedule. First two will be delivered end of July. ARRIVED |
| Castroville | Get rid of stuff. Get rid of lots. |
| Scanning contract-Crissy | Ongoing |
| VARS upgrades | All good? |
| Multibeam data | Talked with Kelly, preparing paper for DSR because not calibrated |
| Manuscripts | - SES paper- Fluorometer standard. On track to finish this by Nov? Table and reference objects - Station M modelling- Kathy working on results Guy in Netherlands has it - Megafauna sizing- in review |
| Camera tripod images | Raw or Tif? Or JPG? |
| Personnel schedules | Johnny out next week Paul too |