
	14 Pct 2015

	Cruise personnel
	Rich
Drew
Ken
Johnny
Paul
Henry
Crissy
Jessie

	To do
	Rover cam IS back from Prosilica- lens on, testing, collecting images- 
Rich configured it, Alana going to pack it- in line
Current meter repairs after Jan 1 they will honor quote
Ordered new releases-done Ship by 27th, sent in our boxes. – Check with ‘ducer’ and UDB. Move to engineering bench of lab. UDB and ducer is on shelf in lab. 
Be prepared to have ROV go get tripod- This needs further discussion with the pilots on how they would actually get to the chain as well as a new modification to make an easily accessible emergency release mechanism. Meet with pilots and show them old frame mock up.- Knute to talk about chain cutter- bought for Moos never been used before. It’s huge. Weights 100 lb. It’s hydraulic. Blades are $900, designed to cut cable, but company says will cut chain. Hasn’t been tested. Bring lots of spare weight to overweight it. 
Satellite beacon added to tripod?
Paul needs 18 c-cells for squirty 
News release Rover – Later
Get hard delrin shoulder bushings for release mounts- Johnny. Blow this megger. No juice getting through 
Check batteries- checked
Test iridium beacon
Test argos beacon for putting on top float or spar buoy using hose clamps
Bring Homer for Camera tripod. Check Rover and SES Homers. Two operational homers in lab

	Packing list FIND
	Buy new power supply. $600

	
	Engineering—
a. Wave glider report, modem back to benthos for evaluation. Ken to prepare plan 
b. Argos beacon was found in Rover lab. Add existing to inventory spreadsheets. ADD THEM TO CRUISE PACKING LIST
c. Bring chain-cutter with ROV. Use something other than chain? 
d. [bookmark: _GoBack]Bring spare syntactic test tiles (Brett)
e. Use isolation part to isolate along chain- Crissy to make checklist for things to take pics of upon deploying and recovering releases
Science—
a. Grab respirometers- Johnny has worked through the leak on one. Crissy to get optodes ready. Note to ask KURT if they have extras. Kurt is out
b. SES to VARS- Crissy to do, check battery of new ones
c. SES buoy batts need changing need to locate line
d. Give new release batts to conway

	Wave glider
	Brian to talk with Benthos to troubleshoot comms probs 
Go out again in Nov. Problem was with their CTD.

	New battery housing endcap-Alana and Johnny
	Have all connectors, have to decide where to put them. Have connectors, proceed cheaply- too successful elsewhere 

	1-2 more strobes
Alana, Brett
	NO. Pressure test after cruise. ready for pressure testing when we have $$. Those will be spares 3,4. We will go to sea with ones that are already pressure tested as spares Low on priority

	Snappy software-Rich
	Alana- on standby. In good shape. Alana remains high After cruise

	Optodes
	Crissy to organize serial numbers/calibration status of all of them. Always swap out rover optodes with freshly calibrated ones- Talk to Kurt about whether they are upgrading. Get ones from Henry. NO PROGRESS

	LED lighting-Brett
	Got $$$, order is submitted for 50% down payment. Rattle cages. Went to the company and everything is on schedule. First two will be delivered end of July. Some things have ARRIVED. Test dive next month after cruise

	SES work?
	Working on reference, tracking down fleurometer
Crissy look into finding chl a of known concentration as a reference
Hans borrowed spare SER1 board. Rich is ordering another
Do power budget for SES
Running missions, need to try running LF modem

	Winches
	Never say never. Ask Dave French

	Scanning contract-Crissy
	Ongoing

	VARS upgrades
	All good?

	Multibeam data
	Talked with Kelly, preparing paper for DSR because not calibrated

	Manuscripts
	1. SES paper- Fluorometer standard. On track to finish this by Nov?
2. EOS Revised
3. Station M modelling- Kathy working on results Guy in Netherlands has it
4. Megafauna sizing- in review

	Personnel schedules
	Crissy in Fri, out Mon, Tues



