1. Johnny to check with mike Conway to see if DMO can use the hand winch for anything. It's in the Antarctica container.
2. All Wave glider goes to Station M in mid Feb. It leaves next week.
3. Alana and Ken will meet to discuss cruise participants  So far we have: Kathy, Ken, Paul, Rich, Johnny, Crissy. Other possibilities: Paul Coenen, Chad, Intern, Sooz
4. Johnny New fiberglass funnels for sediment traps are almost finished, and look great.
5. Squirty housings are either made already, or not yet made. After the lab meeting Paul and Johnny will evaluate. Housing is leftover Ti Biota housing. Paul has specs. 2.36 ID. Paul will talk with Brett about specs/condition.
6. Crissy to evaluate whether we have enough data loggers and optodes for 2 more grab resp units.
7. Crissy to add 18 C-cells per cruise to battery list (for squirty, 9 per squirty unit)
8. Johnny- Don’t cut the end cap for the new camera housing. Alana and Johnny to review. Housing needs a one-way valve because of lithium batteries
9. Alana will need to order another camera tripod battery for the unit deployed in tandem with the main mooring. 
10. All: We will send out one sediment trap on the duplicate mooring. Depth- 50 mab
11. Crissy to order more bottles for this 50 mab sediment trap
12. Crissy to look into how we might be able to do DNA work on sediment trap samples. RNA later? No progress, Crissy to get update from Elif on ESP deployment
13. Kathy will be working on data from Hans over the next month.- No progress. Prompts every four hours were unsuccessful at yielding data from Hans. Try approaching him using the passphrase “Talk to me Goose” or other reference to the movie Top Gun.
14. Crissy to put scanner on ebay. No progress.  Set price low to ensure sale.
15. Engineers Need to build up 1-2 more spheres for next cruise. We have some guts, need to order others. Might have spare mount circuit board. No more reflectors. Alana to check stock of spares.
16. [bookmark: _GoBack]Alana and Johnny to evaluate spares/needs for stirrer motors (Rover, grab respirometers)
17. Crissy- Add to Grad Respirometer deployment checklist protocol for ROV to turn units upside down and shake out possible bubbles before placement in sediment.
18. Rich to start playing with spare wakey board from Paul. Rich will make it better. Flip a bunch of pins. Add GUI.  Make it Snappy.
19. Alana to look into hardware for new camera tripod controller after reviews are done.
20. Phobos- Rich to check status of video feed, recording
21. Ken digitizing hourly images of Pulse 63 tripod deployment. 

