
	3 Feb 2016 

	Larissa
	Data collection to start in Jan 24ish. 2 yr starting now. 

	To do
	All correct and updated battery schematics are in the hands of the battery companies
Current vs archive Make for Camera tripod and Rover Folders- PAUL, ALANA, RICH. Ask in March

	Current meter
	Repair one we have or buy a new one? $3754 to repair. FSI 3DACM (or 2D?) CRISSY to check Project library to verify current meter on Rover and ask for a quote (check Paul’s SN spreadsheet)

	Weights
	Being drilled

	Pulse 66 Cruise debriefing
	PAUL- Waiting to hear back from Joe Borden. Checked in again

	Rover 
	Axis video server- Alana and Rich will test. Ask after maternity leave
Argos beacon is in Alana’s office
Cameras spares: what’s new? Nothing. Ask after maternity leave
Strobes: ALANA has a spare but there is a pressure cycling issue10K lantern shark? Needs testing. Alana made all cabling. Test in pressure tank. Remind in Feb-March.
Assess all spares in Jan
Check optode 801 and connector ALANA. Feb

	Optodes
	Crissy to assess all optodes and spare parts

	Grab resp
	CRISSY. Are they in the same port? What’s the same on these? Plug each one into serial port (with power). Check both loggers to see what’s going on. Unplug optode and see if it’s sending a dummy number. Run optode sitting on bench. Take pics. Check SN of ones that worked before to verify is these have worked in the past (Henry here next week). CRISSY TO DO

	SES
	In future should put an argos on it
TS 7250 we own two but they are not identical but they could be spares. Should RICH set up that spare? Got new board Rev B. Not superman after all.

	New battery housing endcap-Alana and Johnny
	Finish system schematics 

	Snappy software-Rich
	Got whip. ALANA to test and then give to Brett for Ti correction


	LED lighting-Brett
	Brett sending back to make get fixed to Ti connectors after Alana tests

	Scanning contract-Crissy
	They have all tripod film. QC, uploading, organizing. Camera sled in 2016. CRISSY TO QC

	Multibeam data
	Talked with Kelly, preparing paper for DSR because not calibrated

	Near Field camera
	1. That’s its name (NFC)
2. Does not fit in the benthos housing (NFW)
3. Battery pack fits in housing
4. Check cables to lights
5. Alana to order another glass port. Has not been modified. Use old one as spare
6. CRISSY to show Alana old lenses
7. Still need a USB server in there. Want to know on deck that it’s firing
8. Have answers about which housing
9. Need to bench test two cameras firing on same strobe.
10. Check with Brett and make sure the housings have the flat port adaptation (bevel) to prevent spalling 
11. Tom to make a splitter cable. Get optos for real test. Make sure two cameras triggered by optoboard

	Manuscripts
	12. SES paper- Fluorometer standard. On track to finish this by Nov? Table inserted. Paul re-writing intro to compare to Carbon flux explorer
13. PAUL to plot VARS area vs fl. counts
14. Counts per second for SES fl units.
15. Station M modelling- Kathy incorporating comments
16. SCOC paper submitted

	June camera tripod deployment
	17. Contact Chris Grech about mob and demob, schedule grove crane- DO AFTER PRACTICE TRIPOD FRAME DEPLOYMENT- without cameras on it. Better to go over port side. Need ROV on both days.
18. Ken talked with Craig Dawe about going up to look at camera tripod with ROV
19. June Precruise- make sure ROV is on there. Submit precruise 1st week in April
20. Sediment trap 10-15 meters above camera tripod
21. Next meeting set for 25 Feb
22. Adina Payton wants samples for carbon. Come down and we’ll talk
23. Indiana U who Ken knew at Scripps, Tony Rathburn (foram guy), CSU Bakersfield wants to put out foram cages at Station M

	Jerseys
	[bookmark: _GoBack]Camo PULSE shirts. Stripe for each PULSE cruise. Full jumpers with tassles.  Eric will help with design

	Image Pro
	Crissy- can it be upgraded to current version?

	Deploy camera tripod in June
	Ken and Alana to meet with Aaron Gregg on Jan 19th at 9am.

	Personnel schedules
	Paul and Johnny taking off as often as possible
Alana- out of office May, June, July. Work from home Aug. Should be back in 3 days a week starting in Sept.



