| 22 June 2016 |  |
| --- | --- |
| To do | All correct and updated battery schematics are in the hands of the battery companies Current vs archive Make for Camera tripod and Rover Folders- PAUL, ALANA, RICH. Ask in March |
| Nov cruise Pulse 67 | Indiana U who Ken knew at Scripps, Tony Rathburn (foram guy), CSU Bakersfield wants to put out foram cages at Station M |
| Current meter | FSI ACM-PLUS current meter in the titanium deep-water (7000m) housing. Would be helpful for Drew’s work to have exact same model on Rover and Tripod- Next week confirm. Model number and specs. 90’s get from lab notebooks. - ORDER |
| Pulse 66 Cruise debriefing | PAUL- Heard back from Joe Borden. Take home message is- our version was so old, newer version had different wiring. They should have told us. Mistake was not recognizing change prior to 2009. He will speak to repair technician. Backwards burnwire issue. AFTER JUNE, or perhaps let it go and be grateful Paul figured out the problem |
| Rover | Axis video server- Alana and Rich will test. Ask after maternity leave Cameras spares: what’s new? Nothing. Ask after maternity leave Strobes: ALANA has a spare but there is a pressure cycling issue10K lantern shark? Needs testing. Alana made all cabling. Test in pressure tank. Remind in Sept. Assess all spares in Jan Paul Rover Modem Xducer cable Consider getting MF dunker that is compatible with UDB Assess what o-rings need to be changed in Nov. SAE #4 always put electric tape over the sharp threads. |
| Ducer | Check depth ratings |
| Wave glider | What to do after visiting Rover? Leave the LF on, try talking to SES Found SES and ranging Not able to contact Rover on LF Rover has moved |
| Grab resp | Data looked fine |
| LED lighting-Brett | Brett and Paul did strobe testing. Spent an evening flashing. There’s some weirdness. Cf ocean imaging (50-100 joules) Brett sent lights back to get ti connectors One died during testing. Sent back. Troubleshooting continues Make wet cables between LED and camera Got an email from Ireland—more evaluation needed Alana to make cables for testing LED lights with far field camera. Hung up in customs, coming back with Ti connectors Johnny mounted xenons Brett and Paul to set up Brett’s lights to test some new commands to look into charging time |
| Near Field camera | Took same # of pics as FFC, but strobe synch didn’t work |
| Far field camera upgrade | Just need to finish chassis Give tom schematics and chassis, get going Tested entire chassis including Snappy rev 2 Made test cable for firing Figure EOS utility Does anyone else use this camera here? Rich will check with Brett and Craig Okuda Rich ready for SPI (serial peripheral interfacé).Not for June. Testing commands Now have a proposed format for storing data. |
| Batteries | June 2016 order Pulse 67 batteries |
| June camera tripod deployment | Adina Payton wants samples for carbon. Come down and we’ll talk Old strobes in hard hats, pressure tested. One in Rich’s office and one is in Rover lab. Spares in Rover lab have not been pressure tested. See if we have money to pressure test one of the strobes Johnny to disconnect battery, take camera out and bring home. Take out card. Rich and Paul to make protocol Download images- verified, new memory cards installed |
| Scanning contract-Crissy | Cam sled |
| Manuscripts | - Kathy’s multibeam paper- Ken sent Kathy revisions. Submitted soon - SES paper-Submitted L&O Methods - Gelatinous zooplankton modelling- Running stats. Infilling SCOC from POC flux data. Consider using integrated 2012 integrations - ITS- PDO is a driver of Station M megafauna - MBARI anniversary issue. Station M – what engineering and science advancements have been made |
| Proposals | Laser measure plus pincush correction. Do we need to buy the lasers? Pincush. - |
| Larissa | Nearest neighbour is coming along fine |
| Drew | There is no model for how to deal with moving current meters |
| Danielle | Exploring patterns of movement in different sized Echinocrepis |
| Zip line | Done |
| Jerseys | Camo PULSE shirts. Stripe for each PULSE cruise. Full jumpers with tassels. Eric will help with design |
| Personnel schedules | June 6th is Drew’s first day Paul and Johnny taking off as often as possible Alana- out of office May, June, July. Work from home Aug. Should be back in 3 days a week starting in Sept. Paul going on vacation somewhere around June 30th till after 13th of July Rich on Flyer May 9-12 Larissa week of June 17th and probably scarce the 2 weeks following |