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	To do
	All correct and updated battery schematics are in the hands of the battery companies
-Ask Henry Nortek model see what Nortek has Current vs archive Make for Camera tripod and Rover Folders- PAUL, ALANA, RICH. Ask in March. Roberto said workhorse data are way better to work with compared to Nortek. Extended battery case

	Nov cruise Pulse 67
	Kathy is coming
Jen is coming
Henry is coming
Indiana U who Ken knew at Scripps, Tony Rathburn (foram guy), CSU Bakersfield wants to put out foram cages at Station M

	Current meter
	Upward looking (to 50m) ADCP for Rover. Low energy and totally independent, self powered

	Pulse 66 Cruise debriefing
	PAUL- Burnwires- current manual does not match system. Follow up with Joe Borden

	Rover 
	Axis video server- Alana and Rich will test. 
Cameras spares: can’t remember. Ask monthly
Strobes: ALANA has a spare aquasphere but there is a pressure cycling issue.
10K lantern shark. Needs testing. Alana made all cabling. Test in pressure tank. Remind in Sept.
Assess all spares in Jan
Paul Rover LF Modem Xducer cable- have Xducer but need cable- Need to ask Brett if he has PU cable
Spare MF cable? $3000 Check sizes on the shells MIN-K MIN-M. Paul to get quotes, check spares in alana’s office (and replace)
Consider getting MF dunker that is compatible with UDB- no backup for MF system- put in for next year
Assess what o-rings need to be changed in Nov. SAE #4 

	Remaining expenses
	4000- Modem cables
Chain?
6000- CHN
Committed Scanning
See if Jared has extra benthos releases we can use as spares
Remote head/cable

	LED lighting-Brett
	Brett and Paul did strobe testing. Spent an evening flashing. There’s some weirdness. Cf ocean imaging (50-100 joules) 
Brett sent lights back to get ti connectors
One died during testing. Sent back. Troubleshooting continues
Make wet cables between LED and camera
Got an email from Ireland—more evaluation needed
Alana to make cables for testing LED lights with far field camera. 
LED lights are here
Brett and Paul to set up Brett’s lights to test some new commands to look into charging time

	Near Field camera
	Brett has a friend using that model and syncing camera systems. 
Still working on Sync 
2 camera chassis put both in alana’s office

	Far field camera upgrade
	1. Sync issue
2. Rich ready for SPI (serial peripheral interfacé)
3. Now have a proposed format for storing data (code that runs snappy). Paul to modify firmware to test new board. Rich to get new board.
4. Need to fix schematics
5. Go with what we have in Nov? Don’t put new pic on in Nov. Use old one. Collect data once a day or some other rate? How much code space do we have for spy routines?

	Batteries
	June 2016 order Pulse 67 batteries
Camera lithiums
Calendar reminders

	Strobes
	Old strobes in hard hats, pressure tested. One in Rich’s office and one is in Rover lab. Spares in Rover lab have not been pressure tested. See if we have money to pressure test one of the strobes

	Scanning contract-Crissy
	Cam sled- check in

	Manuscripts
	1. Kathy’s multibeam paper- Ken sent Kathy revisions. Trying to resolve technical issues
2. ITS- PDO is a driver of Station M megafauna
3. MBARI anniversary issue. Station M – what engineering and science advancements have been made 
4. [bookmark: _GoBack]Midwater/deep sea floor changes

	Proposals
	Waiting for Phase I input- comes in Aug 24th, phase 2 due Sept ~7th
Sally Ride- waiting to hear back
NSF-NERC

	Ken
	Strengths is automating benthic time series
SES as main controller for everything to activate event-triggered monitoring
Trigger- camera to take more frequent pics of sea floor
Rover- respiration as- is
Photo/Fleuro Rover Transecting crawler, event-triggered
Need better UW modems

	Jerseys
	Camo PULSE shirts. Stripe for each PULSE cruise. Full jumpers with tassels.  Eric will help with design

	Personnel schedules
	Paul and Johnny taking off as often as possible
Alana- out of office May, June, July. Work from home Aug. Should be back in 3 days a week starting in Sept.
Paul 1st week in Sept


 


