| 26 October 2016 |  |
| --- | --- |
| To do | Ask Henry Nortek model see what Nortek has Current vs archive Make for Camera tripod and Rover Folders- PAUL, ALANA, RICH. Ask in March. Roberto said workhorse data are way better to work with compared to Nortek. Extended battery case |
| Nov cruise Pulse 67 | Jen is coming Cable to depth sounder Crissy to check out control room UDB system the next time the flyer is here Colleen? Indiana U who Ken knew at Scripps, Tony Rathburn (foram guy), CSU Bakersfield wants to put out foram cages at Station M New anodes; Johnny; Get new anodes. Camera tripod o-rings for battery can; Johnny. Short and long Argos antennas; Alana has them in the Rover lab. Camera lens caps (x2); Ken; WE HAVE SOME. List of weights to be fabricated before next cruise, purchase of round stock- 10 ft length, hide excess in tin shed). Enough chain isolaters for all releases- on list; Benthos – Johnny to look into, Crissy to check up on. Argos for SES. Order two rebuild kits for pressure switch. SILICONE SLEEVES; For microbes cups. |
| Workhorse | Paull’s old one 300 kHz is best one 6000 m rated, RDI Workhorse. Put it down on its own elevator. Benthos sells an external battery pack. Sample every ten min |
| FSI | Paul to configure |
| Alana’s packing list | Anti-static bracelets Crissy to bring spare optodes Crissy to make sure office supplies are packed |
| Rover | Axis video server- TESTED.Confirm new IP with Rich Cameras spares: can’t remember. Ask monthly 10K lantern shark. Needs testing. Alana made all cabling. Test in pressure tank. Remind weekly. Assess all spares in Jan LF remote head for ducer- directional oilfilled ducer. Not buying yet. Change cables in Nov. and assess in April 2017. Hans has backup MF dunker? Check with him. In progress. Follow through, in our court. Track it down |
| Remaining expenses | 6000- CHN See if Jared has extra benthos releases we can use as spares Buy open ROV assembled- $certified pre-owned, $1200 |
| LED lighting-Brett | Brett and Paul did strobe testing. Spent an evening flashing. There’s some weirdness. Cf ocean imaging (50-100 joules) Brett sent lights back to get ti connectors One died during testing. Sent back. Troubleshooting continues Make wet cables between LED and camera Check in after cruise- ASK AFTER CRUISE |
| Near Field AND far field camera | Camera spare- old drop in spare Mark I uses different Eos software. Check Run it during steam to Sta M Reseal and retest strobe in lab |
| Far field camera upgrade | Need to fix schematics Program spare snappy- not tested Look into spare cables for between cameras. We have enough. Remind in Dec make a space assembly of cable for far field to battery |
| dewar | Can it fit in wet lab? |
| Strobes | Old strobes in hard hats, pressure tested. One in Rich’s office and one is in Rover lab. Spares in Rover lab have not been pressure tested. See if we have money to pressure test one of the strobes |
| Scanning contract-Crissy | Still going |
| Manuscripts | - Kathy’s multibeam paper- Submitted in next week - MBARI anniversary issue. Station M – what engineering and science advancements have been made |
| Ocean Science 2017 | Paul to present SES Crissy- Persistence monitoring |
| Proposals | NSF-NERC- Due 15 Feb. Park n Rove- how far off is the budget? Labor estimate? Do we need two more battery spheres? |
| Ken | - Chad will look into deeper housings, housing needs to have camera and battery, illumination in separate housing - Send sample and data inventory to all |
| Jerseys | Camo PULSE shirts. Stripe for each PULSE cruise. Full jumpers with tassels. Eric will help with design |
| Personnel schedules | Paul and Johnny taking off as often as possible Alana will be in MWT 4-6th Nov Paul T-F Rich Alana on Carson next thursday |