| 13 Dec 2017 |  |
| --- | --- |
| Lasers | Ordered |
| CTD | Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event |
| Optodes | Send back one that leaked Ask about calibration. Calibrate more often Calibrate a bunch more often Update optode list- add deployments Dick Butler update- 3830 stopped making. New ones with subconn $5504. Put new optodes on GR, calibrate old ones and put them on Rover. $22K for four of them |
| Castroville | Take cam sled apart, put in pallet and put on top of van Would Francois want the benthos buoy |
| Current meter FSI | Unplug and take out battery |
| SES | New fiberglass funnel Change to line to be set at 600 mab Shorten it |
| Camera tripod | When plugged into anywhere USB, still powered on, but couldn’t open from EOS utility. EOS utility couldn’t see but Windows explorer could load drive/talk/transfer files. But sometimes when plug in doesn’t show up in file explorer. Firing up on bench, at first did not get sensor cleaning mech. But did work on restart. Try new computer with newest EOS utility. So far can’t replicate problem.Problem 1) Doesn’t boot up 2) If it’s on and running…problem in progress |
| Rover | Insight will upgrade camera and clean window for free Clean window, replace o-rings LF modem head- get an oil filled if we get another one. Troubleshoot corrosion Release parts in manufacturing Pins Johnny will make Look into getting Lithium battery pack for LF modem Turnover in Spring? Bad pin for rack |
| Project update | Try for Feb 26- Check with Mandy and Meilina, make sure Chris is going to be here- Crissy. Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Scanning QC | RICH- can you help with renaming script? For us, yes Danelle Start trying it out |
| Manuscripts | - Oceanography paper revising |
| Multibeam M | This summer end of summer |
| Personnel schedules | Ken- 22 Dec – 4 Jan Crissy 4 Jan Larissa 21-27 Dec Alana 26-28 Dec Paul 19-30 Dec Rich 20 Dec-1 Jan Johnny possibly 26 Dec-1 Jan? |

Crissy to add a spot for tripod strobe hard-hat SN on deploy checklist

End of year wish list:

600 m spectra- Crissy to get quote

Send in wish list

Seaconn connector for replacement of bad pin cable

Spare release x 1 ~15K- get quote, and dual release strongbacks documents, mechanical drawings, pics. Call Joe Borden.

SES parts 128 GB cards

CTD 8.3K

Optode repair/replacement?  Get quote on repair and talk about calibration- Alana. Can new and old ones be swapped on same cables? 5500/optode

Fiberglass/Teflon sediment trap funnels (SES)- get two more made- Johnny

Figure out what cable needs to be replaced

Ti seaconns

Camera?

Anywhere USB