| 25 October 2017 |  |
| --- | --- |
| SES SD card spare | microSD 128GB. In progress. Copying images. |
| Foram cages? | Knute working on it. Still waiting to hear from guy |
| Lasers | Email Mandy or Doug, if we find money for lasers can we still have Duane’s time. Paul said yes. Doug trying to get lasers |
| CTD | Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event |
| Current meter | What is deployment scenario? 5 seconds every 15 minutes. Next Monday. Worked in the test tank. Roberto went over looking at the data in the software. He was very helpful. Crissy to scan notebook and give it to Paul, Alana |
| Pulse 69 batteries | Long battery pack from Brock Double check make sure FSI cables are on board in Nov SES- collect every 2 hr? bigger card? Crissy to order Duracells |
| Micro | Vicor that powers a strobe. We don’t have a spare of the 24-12V vicor micro |
| Core extruder | Working on |
| Camera tripod | O-rings. Seaconn connectors for Rover bought. Think we have it covered. We have the ones for the dualie. That’s the one we have less info about. |
| Rover | Sharpen port chamber cam focus. The company can change the resistors/current of spare. Then we’ll swap the spare if it looks good in Nov.Submitted. Rotate those cameras 10K lantern shark. Pressure tested when sent five years ago. Test it at sea. Remember in September/October. Tackle when other camera fails. Put fuse in bypass Vicor if needed Don’t need to get oil filled ducer. Try to contact Rover before picking up. If can’t contact on LF consider swapping Prosilica needs different output. Hope it doesn’t require opening camera housing. |
| Project update | Before next board meeting Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Scanning QC | RICH- can you help with renaming script? For us, yes Danelle Start trying it out |
| Manuscripts | - Kathy’s multibeam accepted - Oceanography paper submitted |
| Multibeam M | This summer end of summer |
| Personnel schedules | Cruise next month- Nov 7-16 TBD Johnny out Thursday Paul Houston for T-giving |

Purchasing: two more chain isolators

- 50 ft of galvanized long-link chain (1/2”) and galvanized shackles (10 of 5/8” and 10 of ¾”) – Crissy ordered

- More 5 gallon white buckets- carry at least five with us. Check the van

- More lugs and bolts for benthos releases- ones for attaching to frame- Johnny

- Buy more anodes. Make sure they are packed individually in plastic bags. – Send for quote for anodes and chain isolators- ORDERED

- Oversize 11/16 carbite remer for camera tropod

- Release o-rings- check sizes

- Better 37% formaldehyde and more borax to sea

- Widemouth jars plastic UN certified

- Second coring station

- O rings for the current meter and isolation tape/heat shrink. Get same for Rover- Paul

For Pulse 69:

- Drill out all release anodes before we go to sea.

- Check releases for corrosion

- Modify drawing for SES depoymet

- Argos beacon will go on Dualie- Bring all mounts and beacons- Johnny has them in the go to sea box

- Which guts are in the RF beacon?

Crissy to add a spot for tripod strobe hard-hat SN on deploy checklist

- Give bridge the RF freq so they can listen for sink time.

- Get homers for both camera tripods from Conway

- Add to deployment sheet which camera system it is

- Troublshoot chamber optode from grab resp- check history of optode, cable

- Chinese fingers on SES drop-weight

End of year wish list:

Ti seaconns

Spare release

Lasers

SES parts

Current meter