| 28 July 2017 |  |
| --- | --- |
| Open House | Let’s make it successful! Confirm monitors with todd Print out banner and grommet after lamintate Update poster plots |
| 2018 proposal | Submitted |
| Current meter | Go ahead with both. Collaborate with Drew about set them up. 1 with 4m range bends, 1 with 1 m range bends |
| Core extruder | Nov. Bring up in mid June |
| Rover | Sharpen port chamber cam focus. The company can change the resistors/current of spare. Then we’ll swap the spare if it looks good in Nov.Submitted. Rotate those cameras 10K lantern shark. Pressure tested when sent five years ago. Test it at sea. Remember in September/October. Don’t need to get oil filled ducer. Try to contact Rover before picking up. If can’t contact on LF consider swapping |
| Sphere | Testing the one with a chip |
| LED lighting-Brett | Paul got them from Brett. Take 19 seconds to charge after sitting overnight. Takes 2 seconds to recharge after being fired….so capacitor bank not being used fully. |
| Scanning QC | RICH- can you help with renaming script? For us, yes Danelle Start trying it out |
| Manuscripts | - Kathy’s multibeam Submitted - Oceanography paper submitted |
| Multibeam M | This summer end of summer |
| Personnel schedules | Ken some time in September Rich- 26 – 31 July |

Purchasing: two more chain isolators

- 50 ft of galvanized long-link chain (1/2”) and galvanized shackles (10 of 5/8” and 10 of ¾”)

- More 5 gallon white buckets- carry at least five with us. Check the van

- More lugs and bolts for benthos releases

- Buy more anodes. Make sure they are packed individually in plastic bags. – Send for quote for anodes and chain isolators

- Oversize 11/16 carbite remer for camera tropod

- Release o-rings- check sizes

- More shoulder bushings for camera tripods

- Better 37% formaldehyde and more borax to sea

- Widemouth jars plastic UN certified

- Second coring station

- O rings for the current meter and isolation tape/heat shrink. Get same for Rover

For Pulse 69:

- Iversen’s bio-op camera, then it goes into a gel.

- Drill out all release anodes before we go to sea.

- Both Knute and Marko are looking at how to release the tripod with the ROV if needed

- Check releases for corrosion

- Modify drawing for SES depoymet

- Argos beacon will go on Dualie

- Which guts are in the RF beacon?

Crissy to add a spot for tripod strobe hard-hat SN on deploy checklist

- Give bridge the RF freq so they can listen for sink time.

- Get homers for both camera tripods from Conway

- Add to deployment sheet which camera system it is

- Troublshoot chamber optode from grab resp- check history of optode, cable

- Chinese fingers on SES drop-weight

Misc

- Rob Young- what do you really want?

- Rob’s student (female) might come

End of year wish list:

Ti seaconns

Lasers

SES parts