| 29 November 2017 |  |
| --- | --- |
| Lasers | Talk with Dale about borrowing lasers |
| CTD | Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event |
| Optodes | Send back one that leaked Ask about calibration. Calibrate more often Calibrate a bunch more often Update optode list- add deployments |
| Castroville | Take cam sled apart |
| SES | New fiberglass funnel Change to line to be set at 600 mab Shorten it |
| Camera tripod | Troubleshoot failure |
| Rover | Sharpen port chamber cam focus. The company can change the resistors/current of spare. Then we’ll swap the spare if it looks good in Nov.Submitted. Rotate those cameras 10K lantern shark. Pressure tested when sent five years ago. Test it at sea. Remember in September/October. Tackle when other camera fails. Put fuse in bypass Vicor if needed Don’t need to get oil filled ducer. Try to contact Rover before picking up. If can’t contact on LF consider swapping Prosilica needs different output. Hope it doesn’t require opening camera housing. Release parts Look into getting Lithium battery pack for LF modem Turnover in Spring? Bad pin for rack |
| Project update | Before next board meeting Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Scanning QC | RICH- can you help with renaming script? For us, yes Danelle Start trying it out |
| Manuscripts | - Kathy’s multibeam accepted - Oceanography paper submitted |
| Multibeam M | This summer end of summer |
| Personnel schedules | Crissy out Dec 7, 11 Johnny out Thursday, Friday |

Crissy to add a spot for tripod strobe hard-hat SN on deploy checklist

End of year wish list:

600 m spectra

Seaconn connector for replacement of bad pin cable

Spare release x 1 ~15K- get quote, and dual release strongbacks documents, mechanical drawings, pics.

Lasers

SES parts

CTD 8.3K

Optode repair/replacement?  Get quote on repair and talk about calibration- Alana. Can new and old ones be swapped on same cables?

Fiberglass/Teflon sediment trap funnels (SES)- get two more made

Still waiting for one of the current meter repair charges to go through

Figure out what cable needs to be replaced

Ti seaconns