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	Lasers
	Talk with Dale about borrowing lasers

	CTD
	Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event

	Optodes
	Send back one that leaked
Ask about calibration. Calibrate more often
Calibrate a bunch more often
Update optode list- add deployments

	Castroville
	Take cam sled apart

	SES
	New fiberglass funnel
Change to line to be set at 600 mab
Shorten it

	Camera tripod
	Troubleshoot failure

	Rover 
	Sharpen port chamber cam focus. The company can change the resistors/current of spare. Then we’ll swap the spare if it looks good in Nov.Submitted. Rotate those cameras 
10K lantern shark. Pressure tested when sent five years ago. Test it at sea. Remember in September/October. Tackle when other camera fails. Put fuse in bypass Vicor if needed
Don’t need to get oil filled ducer. Try to contact Rover before picking up. If can’t contact on LF consider swapping 
Prosilica needs different output. Hope it doesn’t require opening camera housing.
Release parts
Look into getting Lithium battery pack for LF modem
Turnover in Spring? Bad pin for rack

	Project update
	Before next board meeting
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Scanning QC
	RICH- can you help with renaming script? For us, yes
Danelle
Start trying it out

	Manuscripts
	1. Kathy’s multibeam accepted 
2. Oceanography paper submitted

	Multibeam M
	This summer end of summer

	Personnel schedules
	Crissy out Dec 7, 11
Johnny out Thursday, Friday


Crissy to add a spot for tripod strobe hard-hat SN on deploy checklist
End of year wish list:
600 m spectra
[bookmark: _GoBack]Seaconn connector for replacement of bad pin cable
Spare release x 1 ~15K- get quote, and dual release strongbacks documents, mechanical drawings, pics. 
Lasers 
SES parts
CTD 8.3K
Optode repair/replacement?  Get quote on repair and talk about calibration- Alana. Can new and old ones be swapped on same cables?
Fiberglass/Teflon sediment trap funnels (SES)- get two more made
Still waiting for one of the current meter repair charges to go through
Figure out what cable needs to be replaced
Ti seaconns

