| 7 June 2017 |  |
| --- | --- |
| VARS | UTC to Local |
| 2018 proposal | - SES as central controller for benthic observatory - Trigger sampling by other instruments (Wave Glider, VIPER, Park-N-Fly?) - Pop-up buoy released from SES during major deposition event (exceed set threshold) - Pop-up buoy on surface – iridium transmit- satellite-shore to deploy Wave Glider to Sta. M - Pop-up buoy – how cheap? – can use shark tag technology at 4000 m? Argos at first, then iridium/sinking. Work with what we have for now. Burnwire release, test acoustic release, try to pick it up on the surface - Do we need to build second SES to develop controller capability? - 70k+? ME redesign of SES for the next year we can put in to make a better one. - Assets in hand vs will need to get. Thinking toward 2018/2019. Maybe ask to get a new camera, get some of the parts in hand in 2018. Put camera and fluorometer in same housing? Spare trap - Fluorescent cameras on time-lapse tripods (NSF proposal – notification by end of June?) - SeeStar cameras on sediment trap bridles (NSF proposal – notification by end of June?) Smarten SES? Rigging for sampling at 600 m- 2018. Deploy at 50 mab in Nov Frame with two releases, put them on end of mooring so can put on at any height Pressure testing for one spare VIPER- vertical integrated profiling event responder #Wave glider days? 4 #Paragon days? 4 #Lead engineer? Talk with John Ryan |
| Fluorescence cams on tripod | Budget for most expensive option…Proslica with stack. Is there room in FF camera housing? Possibly. Need main processor card with Ethernet, Newer version of Technologic. Maybe snappy can put that to sleepy-wakey. And light, deep sea power and light housing x 2. 2 bulkhead connectors/cables. |
| Wave glider | Establish single point person for each team. Bother Brian after Canon |
| Current meter | Go ahead with both |
| Core extruder | Nov. Bring up in mid June |
| Sediment traps | Spare guts- 6K tax and shipping for two sets. 6-8 weeks delivery time- crissy to order one for now |
| Rover | Sharpen port chamber cam focus. The company can change the resistors/current of spare. Then we’ll swap the spare if it looks good in Nov.Submitted. Rotate those cameras 10K lantern shark. Pressure tested when sent five years ago. Test it at sea. Remember in September/October. Don’t need to get oil filled ducer. Try to contact Rover before picking up. If can’t contact on LF consider swapping |
| LED lighting-Brett | Brett and Paul still need to decide what to do with them |
| Scanning QC | RICH- can you help with renaming script? For us, yes Danelle Start trying it out |
| Manuscripts | - Kathy’s multibeam paper- Submitted in next week - Oceanography paper |
| Multibeam M | This summer |
| Jerseys | Camo PULSE shirts. Stripe for each PULSE cruise. Full jumpers with tassels. Eric will help with design |
| Personnel schedules | Johnny early July week or two Paul gone last week of June first week of July Rich 26 June- 17 July Paul at sea next wed |

Purchasing:

- 50 ft of galvanized long-link chain (1/2”) and galvanized shackles (10 of 5/8” and 10 of ¾”)

- Aquarium fish nets for getting small stuff out of samplers

- Spare sediment trap controllers

- More 5 gallon white buckets- carry at least five with us. Check the van

- More lugs and bolts for benthos releases

- Buy more anodes. Make sure they are packed individually in plastic bags.

- Oversize 11/16 carbite remer for camera tropod

- Release o-rings

- More huge kim wipes

- More shoulder bushings for camera tripods

- Better 37% formaldehyde and more borax to sea

- More falcon tubes

- Widemouth jars plastic UN certified

- Second coring station

- O rings for the current meter and isolation tape/heat shrink. Get same for Rover

For Pulse 69:

- Iversen’s bio-op camera, then it goes into a gel.

- Drill out all release anodes before we go to sea.

- Both Knute and Marko are looking at how to release the tripod with the ROV if needed

- Check releases for corrosion

- Modify drawing for SES depoymet

- Argos beacon will go on Dualie

- Which guts are in the RF beacon?

- Crissy to add a spot for tripod strobe hard-hat SN on deploy checklist

- Give bridge the RF freq so they can listen for sink time.

- Get homers for both camera tripods from Conway

- Add to deployment sheet which camera system it is

- Troublshoot chamber optode from grab resp- crissy to do

- Chinese fingers on SES drop-weight

Misc

- Rob Young- what do you really want?

- Rob’s student (female) might come

VIPER

Paul, Rich, Johnnie, Alana,

As we discussed at the lab meeting, lets meet in my office on Friday, 19 May, @ 1000 to discuss VIPER feasibility study and what we expect to accomplish in the first year.

The list we just generated at the lab meeting include the following to cover risk assessment:

1. Flow characteristics through a mock-up funnel sampler in test tank - regulate ascent to prevent bow-wave and over-collection (hot-wire anemometer inflow-outflow monitoring)

2. Event detection using satellite chlorophyll monitoring - data obtained daily in real-time. Monique points out this correlation is not strong so may be using SES for event detection would be better.

3. SES event detection: Monique suggested using a pop-up float released from the SES when an event is sensed. Through a satellite link, this would initiate the deployment of the Wave Glider so it doesn't have to be present for prolonged periods. This is a very possible scenario as well. Most of the episodic events we have detected with the SES and Rover can occur over a period of 1 to 2 weeks.prompting Wave Glider deployment to Sta. M - requiring 3-5 days. (Event detection might be better done near shore to limit transit time for initial proof-of-concept)

4. Acoustic tracking of VIPER through water column - lose tracking closer to surface - rely on iridium beacon deployed on surface float once reaches surface (float and tether released w/ low pressure trigger)

5. Homing and snagging a tow line/float by Wave Glider (several proposed projects to study some aspect of this -  McGill/Okuda, Maughan, Hobson, ?)