	10 Oct  2018

	Pulse 71
	CTD has been dealt with

	Lasers
	Squares done and printed on metal. Bay photo new customer discount!

	ADCP
	All set, procedures (double check), it’s running. 

	Tripod scale
	Not enough time to get this ready. Put it off.

	Upside down sediment trap
	Nixed in proposal. Can we make one with extra funds? 

	Beacons
	Retired beacons have been reconditioned. Pull ones that aren’t working so we can send back if they come up with a solution. 

	Optodes
	Tested and in grab A

	Tripods
	Paul and Alana will change out anywhere USB from NF and Solo. Don’t have right parts for FF. 

	Rover
	Need to change camera (corroded cable swap) with chamber camera. Worth changing camera. They get serviced and cleaned. Now both have LED that are less bright. Want to change because they will clean the inside of the lens when sent in to be serviced.
Swap ten pin connector stbd rack motor.

	Wave Glider
	Not going to be there. Got bent. 

	Batteries for October
	[bookmark: _GoBack]Battery voltages have been checked.

	Project update
	Worry after cruise
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Open House lessons learned
	Get new pool- Remind in April
Layout was good
Get new big monitor- BIG screen

	Manuscripts
	Results getting updated
Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that.
30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists
Ken- annotating near field and far field 67/68
Enteropneust draft- coming along
Multibeam Kathy

	Personnel schedules
	Ken away on Monday
Johnny Dec. Possible last week in September



Plot: GIS of all stuff on bottom- 

Ordering:
Wish list
Seaconn connector for replacement of bad pin cable
Ti seaconns

