| 10 Oct 2018 |  |
| --- | --- |
| Pulse 71 | CTD has been dealt with |
| Lasers | Squares done and printed on metal. Bay photo new customer discount! |
| ADCP | All set, procedures (double check), it’s running. |
| Tripod scale | Not enough time to get this ready. Put it off. |
| Upside down sediment trap | Nixed in proposal. Can we make one with extra funds? |
| Beacons | Retired beacons have been reconditioned. Pull ones that aren’t working so we can send back if they come up with a solution. |
| Optodes | Tested and in grab A |
| Tripods | Paul and Alana will change out anywhere USB from NF and Solo. Don’t have right parts for FF. |
| Rover | Need to change camera (corroded cable swap) with chamber camera. Worth changing camera. They get serviced and cleaned. Now both have LED that are less bright. Want to change because they will clean the inside of the lens when sent in to be serviced. Swap ten pin connector stbd rack motor. |
| Wave Glider | Not going to be there. Got bent. |
| Batteries for October | Battery voltages have been checked. |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Results getting updated Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. 30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Ken away on Monday Johnny Dec. Possible last week in September |

Plot: GIS of all stuff on bottom-

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

Ti seaconns