| 12 Dec 2018 |  |
| --- | --- |
| Label strongback box as such |  |
| Pulse 71 | Current meter did not go on. Remove battery, use as spare for Rover. |
| Pulse 71 | Hardware matters in buoyancy calculations Took battery out of ADCP Send out email about blue deck box |
| Lasers | Dan has been working in it- Need Dan to focus on it. |
| Pulse 71 ADCP | Tom Connelley has the data. Needed to use the laptop that was used to get it ready for deployment. Crissy to follow up |
| Tripod scale | Not enough time to get this ready. Put it off. |
| SES | CLEAN VIEW! Paul- revisit Pre-dive checklist to clean slide, camera, etc. Replace slide? Find way to clean it. Squeegie of same material has been replaced but we don’t know about contact. Need better system of something that can be replaced every year. Needs compliance/spring loading. Last time wiper was changed was the last time it was on shore. Silicone won’t absorb or harden. Updating schematics. Spring loaded device behind squegie? Replace every year with silicone. Make a little longer so it has a little extra to wear off. Paul to tell JF where drawings are. Pulse 68 data files, pulse 70 is processing. Attenuation zero is added post processing. |
| Upside down sediment trap | Making parts before blow molder. Call to verify timing. Shop is backlogged in 3D printing. Made second run of nipples to go on bottle union and fit perfectly. Now can take bottle and union off. |
| Larvae pump | Nailing down details of developing larval trap. Working on it, done spending for this year. |
| Beacons | Alana will check into Argos beacon numbers against emails, account. Need to follow up with Brett Use old style beacons at long deployments at deep sites because they haven’t had failures with the new switches yet (but they are less than a year old) |
| Optodes | Tested with new test cable and they responded to changing conditions (sodium sulphite anhydrous). Something now working right. Check configuration of optodes |
| Pulse 71 Tripods | Alana needs to buy some cables. Both camera systems had trouble talking through serial port. Was just noise in system? Was old tattletale? Was flaky. Solo needs to come home and update snappy. Ask for a 6 day cruise in spring of 2020, testing for Luciana. Macro camera on glass sponge stalk. But what camera housing? Long one doesn’t have offset lens. Do we have spare flat windows? 1-2K of expenses |
| Macro system | Can we get the Mark III? Price Macro lens. Could make frame out of plastic and fiberglass. Buy slug of titanium to make end cap. Put camera and batteries all in one. Power budget picture every 1 or 5 min. Camera ordered, with lenses. Camera can fit in housing with different end cap. LED lighting- Brett has one can and one light head and is trying to track down the other set. |
| Bad release | 3000K |
| Rover | Spare rover current meter to have battery taken out. Check with Paul |
| Wave Glider | In a few months |
| VARS archive | In order. Pending VARS upload |
| Wish list | Make many bushings. Order ½ inch ti washers |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Clicking. Make plots 68, 67 |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. 30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Johnny taking time here and there this month, good chunk of Dec Crissy 17-25 Dec Paul Dec 20 – Jan 2 Ken 27 Dec-2 Jan Rich- 19 -31 Dec |

Plot: GIS of all stuff on bottom-

Ordering:

Alana 1-2 K for tripod USB/Ethernet extenders/connectors

Johnny cups/couplers- ~15K

Crissy Release repair

Putting the A and U of any AUV