	14 November  2018

	Pulse 71
	Current meter did not go on. Remove battery, use as spare for Rover. 

	Pulse 71
	Hardware matters in buoyancy calculations
Took battery out of ADCP
Send out email about blue deck box

	Lasers
	No update from Dan so Paul will ping him

	Pulse 71 ADCP
	Tom Connelley has the data. Needed to use the laptop that was used to get it ready for deployment. 

	Tripod scale
	Not enough time to get this ready. Put it off.

	SES
	CLEAN VIEW! Paul- revisit
Pre-dive checklist to clean slide, camera, etc. Replace slide? Find way to clean it. Squeegie of same material has been replaced but we don’t know about contact. Need better system of something that can be replaced every year. Needs compliance/spring loading. Last time wiper was changed was the last time it was on shore. Silicone won’t absorb or harden. Updating schematics. Spring loaded device behind squegie? Replace every year with silicone. Make a little longer so it has a little extra to wear off. Paul to tell JF where drawings are. 

	Upside down sediment trap
	Cup design. Total costs by end of next week. PTFE get quote for them to make them. Erickson will help. 

	Larvae pump
	Scrapped MARS. Will try to build an autonomous isntruments discussed on Monday, with Sea batteries and small tripod or other rectangular frame. Conference call with Luciana on 28th. Do power budget to see if sea batteries will be enough. Johnny knows someone who sells bent ti. Image needs to be good. What do we use for lighting. Come up with a set of requirements. 2 days per deplpoyment with ROV and redeployed again. Once a minute for two days. Could be steel? No- in case we need to leave it down or do longer deployments. Put it on an aggregate. Let’s use the LED lights Ask Brett where they are.

	Beacons
	Alana will check into Argos beacon numbers against emails, account
Use old style beacons at long deployments at deep sites because they haven’t had failures with the new switches yet (but they are less than a year old)

	Optodes
	Tested with new test cable and they responded to changing conditions (sodium sulphite anhydrous). Something now working right. Check configuration of optodes

	Pulse 71 Tripods
	Alana needs to buy some cables. Both camera systems had trouble talking through serial port. Was just noise in system? Was old tattletale? Was flaky. Solo needs to come home and update snappy. Ask for a 6 day cruise in spring of 2020, testing for Luciana. Macro camera on glass sponge stalk. But what camera housing? Long one doesn’t have offset lens.  

	Bad release 
	Take out battery and get RMA

	Rover
	Spare rover current meter to have battery taken out. 

	Wave Glider
	In a few months 

	VARS archive
	2202 check if it has been re-uploaded. Still lookin for 4010 scans. 3510 has too many. Ken to check free vehicle notebook. Maybe that one was taking pictures more frequently than every hour. Crissy to check old invoices to see if 4010 was charged

	Wish list
	Make many bushings. Order ½ inch ti washers

	Project update
	Worry after cruise
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Open House lessons learned
	Get new pool- Remind in April
Layout was good
Get new big monitor- BIG screen

	Manuscripts
	PNAS in press
Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that.
30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists
Ken- annotating near field and far field 67/68
Enteropneust draft- coming along
Multibeam Kathy

	Personnel schedules
	Johnny taking time here and there this month, good chunk of Dec
Crissy 17-25 Dec
Next Wed- no one around
[bookmark: _GoBack]Dec 1-8 at a Nasa panel
Ken 26 Dec-2 Jan



Plot: GIS of all stuff on bottom- 

Ordering:
Alana 1-2 K for tripod USB/Ethernet extenders/connectors
Johnny cups/couplers- ~15K
Crissy Release repair


Putting the A and U of any AUV

