| 15 Aug 2018 |  |
| --- | --- |
| Pulse 71 | New CTD has batteries but not installed. This week Crissy to look into it. |
| Lasers | Meeting with Dan next Tuesday |
| Tripod scale | Got materials, will do mock up. Ti . Torsion springs- not sufficient |
| Upside down sediment trap | Delay until proposal review. Crissy to fnid draft of more complicated figure of overlap/measurements |
| Event detection | Rich look into modems. Waiting to talk with pilots. N.P. |
| Optodes | Test new one in test tankwith new cable. Alana to give cable to Crissy |
| Tripods | Need to find different USB-ethernet because we had problems with the old one |
| Rover | Need to change camera (corroded cable swap) with chamber camera. Worth changing camera. They get serviced and cleaned. Now both have LED that are less bright. Want to change because seriving cleaned inside lens. Swap ten pin connector stbd rack motor. |
| Wave Glider | Rover is working. SES- didn’t try |
| Batteries for October | Moved to Rover lab |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| 2019 Proposal | Waiting to hear |
| VIPER | Waiting to hear |
| Open House lessons learned | Get new pool Layout was good Get new big monitor- BIG screen |
| Manuscripts | Results getting updated Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. 30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists Ken- annotating near field and far field 67/68 Enteropneust draft- coming along |
| Deep Sea Bio | Posters: Alana, Larissa, Crissy |
| Open House | Puzzle Cornhole sediment toss, space invaders, Rich present next week |
| Multibeam M | Next summer ? |
| Personnel schedules | DSB Sept 9-13 Crissy Sept 6-7 Johnny Dec. Possible last week in September Paul 29 Sept-4 October Henry- Delmarva next weekend Ken never leaving office again |

Plot: GIS of all stuff on bottom-

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

CTD 8.3K

Ti seaconns