| 21 Feb 2018 |  |
| --- | --- |
| Rover Pulse 70 | One sphere worth of new Rover batteries in case of disaster. (4 PACKS) Alana to give Crissy # of Rover packs and cam tripod lithium packs in stock. Swap out calibrated optodes (2). Give optodes that were good in the grabs Release mechanism Fried pin is the ground pin LF modem head- get an oil filled if we get another one. Troubleshoot corrosion Paul ordered LF battery |
| SES | Incorporate fluorescent puck? Biofouling? Teting over weekend- 9 min per sample, got to 600 samples, no errors. 2 hr no pass through Repeat calibration in test tank, add fluorescent puck |
| Pulse 70 batteries | Alkalines |
| Lasers | Need to know tilt and altitude. Precise but not accurate. Need cables. Buy Medusa. |
| CTD | Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event |
| Optodes | Ask about calibration. Calibrate more often NEED TO CALIBRATE- track down equipment from Lovera Update optode list- add deployments STBD- Chamber 296 STBD Reference 799 Port Chaber 961 Port reference 289 |
| SCOC | Revisit slope adjustment. Crissy get on project library Rover deployments |
| Dec Cruise | Ken and Alana talked with Jim. Jim checking with collaborators- Looks promising- Do something nice |
| Castroville | Take cam sled apart, put in pallet and put on top of van Would Francois want the benthos pop up bucket buoys (x3). Waiting for facilities to move cam sled here. |
| Wave Glider | Everything worked |
| Camera tripod | Lots of testing. Alana thinks the anywhere USB is old and causing communication problems. Could be hardware incompatibility. Went through four different machines and all have issues. Anywhere USB power plug is on outs (but fixed). Need to get newer hardware. Got new Anywhere USB and similar. Worked. |
| Project update | Ken to pick dates. Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Manuscripts | Surface to sea floor in revision |
| Larissa’s MS | Spatial distance data organization |
| Open House | July 21st |
| Multibeam M | Next summer ? |
| Personnel schedules | Ken out 17th, out 2-3 weeks Rich will be out April 9 - 12, the entire week before we mobilize for the April 18-24 cruise. Crissy out 15-31 July |

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

CTD 8.3K

Figure out what cable needs to be replaced

Ti seaconns

Anywhere USB