| 28 November 2018 |  |
| --- | --- |
| Pulse 71 | Current meter did not go on. Remove battery, use as spare for Rover. |
| Pulse 71 | Hardware matters in buoyancy calculations Took battery out of ADCP Send out email about blue deck box |
| Lasers | Dan has been working in it |
| Pulse 71 ADCP | Tom Connelley has the data. Needed to use the laptop that was used to get it ready for deployment. |
| Tripod scale | Not enough time to get this ready. Put it off. |
| SES | CLEAN VIEW! Paul- revisit Pre-dive checklist to clean slide, camera, etc. Replace slide? Find way to clean it. Squeegie of same material has been replaced but we don’t know about contact. Need better system of something that can be replaced every year. Needs compliance/spring loading. Last time wiper was changed was the last time it was on shore. Silicone won’t absorb or harden. Updating schematics. Spring loaded device behind squegie? Replace every year with silicone. Make a little longer so it has a little extra to wear off. Paul to tell JF where drawings are. |
| Upside down sediment trap | Making parts before blow molder. Call to verify timing. Shop is backlogged in 3D printing |
| Larvae pump | Nailing down details of developing larval trap |
| Beacons | Alana will check into Argos beacon numbers against emails, account Use old style beacons at long deployments at deep sites because they haven’t had failures with the new switches yet (but they are less than a year old) |
| Optodes | Tested with new test cable and they responded to changing conditions (sodium sulphite anhydrous). Something now working right. Check configuration of optodes |
| Pulse 71 Tripods | Alana needs to buy some cables. Both camera systems had trouble talking through serial port. Was just noise in system? Was old tattletale? Was flaky. Solo needs to come home and update snappy. Ask for a 6 day cruise in spring of 2020, testing for Luciana. Macro camera on glass sponge stalk. But what camera housing? Long one doesn’t have offset lens. Do we have spare flat windows? |
| Bad release | Take out battery and get RMA |
| Rover | Spare rover current meter to have battery taken out. Check with Paul |
| Wave Glider | In a few months |
| VARS archive | Last batch that need renaming, then check renaming |
| Wish list | Make many bushings. Order ½ inch ti washers |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Clicking |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | PNAS paper is out. Communication coming out (Thursday?) Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. 30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Johnny taking time here and there this month, good chunk of Dec Crissy 17-25 Dec Paul Dec 1-8 at a Nasa panel Ken 26 Dec-2 Jan Rich- 19 -31 Dec |

Plot: GIS of all stuff on bottom-

Ordering:

Alana 1-2 K for tripod USB/Ethernet extenders/connectors

Johnny cups/couplers- ~15K

Crissy Release repair

Putting the A and U of any AUV